## 3.ELV
DỰ ÁN TRƯỜNG DWIGHT HÀ NỘI
DWIGHT SCHOOL HANOI PROJECT | [10 empty] | Kính gửi: CÔNG TY CỔ PHẦN KỸ THUẬT CÔNG NGHỆ SÀI GÒN (TECHGEL)
Địa chỉ: 30 Phan Chu Trinh, Phường 2, Quận Bình Thạnh, TP. Hồ Chí Minh, Việt Nam
PHẦN 3 - HỆ THỐNG ĐIỆN NHẸ | [10 empty] | Project: Hệ thống IT Dự án trường học quốc tế Dwight trong khu đô thị The Manor Central Park - TP.Hà Nội
DIVISION 3 - EXTRA LOW VOLTAGE ELECTRICAL SYSTEM
Stt No | Diễn giải Description | Thương hiệu Brand | Xuất Xứ Original | Mã hiệu Model | TECHGEL OFFER |  |  |  | Đơn vị Unit | Khối lượng nhà thầu Quantity | THÔNG TIN NHÀ CUNG CẤP VIETNET
[5 empty] | Mô tả kỹ thuật | Mã hiệu | Nhãn hiệu | Xuất xứ |  |  | Tên hàng hóa | Nhãn hiệu | Thông số kỹ thuật | ĐVT | Số lượng | Đơn giá Vật tư | Đơn giá Nhân công | Thành tiền Vật tư | Thành tiền Nhân công | Tổng cộng | Diễn giải
B | HỆ THỐNG MẠNG, ĐIỆN THOẠI VÀ TIVI |  |  |  |  | FPT | FPT
DATA, TELEPHONE AND TELEVISION SYSTEM
Thiết bị hạ tầng bao gồm kết nối, lập trình, kiểm tra, vận hành, phụ kiện và vật tư phụ
Backbone equipment including connection, programming, testing, commissioning, fittings and accessories
Phòng MDF
MDF room
10 | Máy chủ( mail, web, file, VoD, BMS) |  |  |  | Dell(TM) PowerEdge(TM) R740 Rack Mount Server 1 x PowerEdge R740 Server 1 x PowerEdge R740/R740XD Motherboard 1 x No Trusted Platform Module 1 x Chassis with up to 8 x 2.5" SAS/SATA Hard Drives for 2CPU Config, PERC/HBA11 1 x Intel® Xeon® Silver 4210R 2.4G, 10C/20T, 9.6GT/s, 13.75M Cache, Turbo, HT (100W) DDR4-2400 1 x Intel® Xeon® Silver 4210R 2.4G, 10C/20T, 9.6GT/s, 13.75M Cache, Turbo, HT (100W) DDR4-2400 1 x 2 Standard Heatsinks for 125W or less CPUs 1 x 3200MT/s RDIMMs 1 x Performance Optimized 2 x 32GB RDIMM, 3200MT/s, Dual Rank, 16Gb BASE x8 1 x C7, Unconfigured RAID for HDDs or SSDs (Mixed Drive Types Allowed) 1 x PERC H750 Adapter LP 2 x 960GB SSD SATA Read Intensive 6Gbps 512 2.5in Hot-plug AG Drive, 1 DWPD, 1 x iDRAC9 Enterprise with OpenManage Enterprise Advanced 1 x Broadcom 57412 Dual Port 10GbE SFP+ & 5720 Dual Port 1GbE BASE-T rNDC 1 x Riser Config 2, 3 x8, 1 x16 slots 1 x Broadcom 5719 Quad Port 1GbE BASE-T Adapter, PCIe Full Height 1 x Dual, Hot-plug, Redundant Power Supply (1+1), 750W 2 x Jumper Cord - C13/C14, 4M, 250V, 10A (US, EU, TW, APCC countries except ANZ) 1 x PowerEdge 2U Standard Bezel (Dell EMC) 1 x No Quick Sync 1 x Group Manager, Enabled 1 x iDRAC,Factory Generated Password 1 x Performance BIOS Setting 1 x UEFI BIOS Boot Mode with GPT Partition 1 x 6 Standard Fans for R740/740XD 1 x No Operating System 1 x Basic Next Business Day 36Months-ACDTS, 36 Month(s) 1 x ProSupport and Next Business Day Onsite Service-ACDTS, 36 Month(s) 1 x For SADMG Countries only - No Installation Service Required 1 x No Rack Rails or Cable Management Arm 1 x No Internal Optical Drive 1 x PowerEdge R740 Shipping (APCC/Taiwan), for 1300W below, V2 1 x PowerEdge R740 Shipping Material (Dell EMC) 1 x PowerEdge R740/R740XD No CE Marking, APCC, for 1300W PSU below 1 x No Systems Documentation, No OpenManage DVD Kit 1 x Mod Specs Info (SADMG) 1 x EX-HUB from APCC Penang(DDD) 1 x NONE | 0 | Dell | Malaysia | set | 1 | PowerEdge(TM) R740 | Dell / asia | Máy chủ( mail, web, file, VoD, BMS) Dell(TM) PowerEdge(TM) R740 Rack Mount Server 1 x PowerEdge R740 Server 1 x PowerEdge R740/R740XD Motherboard 1 x No Trusted Platform Module 1 x Chassis with up to 8 x 2.5" SAS/SATA Hard Drives for 2CPU Config, PERC/HBA11 1 x Intel® Xeon® Silver 4210R 2.4G, 10C/20T, 9.6GT/s, 13.75M Cache, Turbo, HT (100W) DDR4-2400 1 x Intel® Xeon® Silver 4210R 2.4G, 10C/20T, 9.6GT/s, 13.75M Cache, Turbo, HT (100W) DDR4-2400 1 x 2 Standard Heatsinks for 125W or less CPUs 1 x 3200MT/s RDIMMs 1 x Performance Optimized 2 x 32GB RDIMM, 3200MT/s, Dual Rank, 16Gb BASE x8 1 x C7, Unconfigured RAID for HDDs or SSDs (Mixed Drive Types Allowed) 1 x PERC H750 Adapter LP 2 x 960GB SSD SATA Read Intensive 6Gbps 512 2.5in Hot-plug AG Drive, 1 DWPD, 1 x iDRAC9 Enterprise with OpenManage Enterprise Advanced 1 x Broadcom 57412 Dual Port 10GbE SFP+ & 5720 Dual Port 1GbE BASE-T rNDC 1 x Riser Config 2, 3 x8, 1 x16 slots 1 x Broadcom 5719 Quad Port 1GbE BASE-T Adapter, PCIe Full Height 1 x Dual, Hot-plug, Redundant Power Supply (1+1), 750W 2 x Jumper Cord - C13/C14, 4M, 250V, 10A (US, EU, TW, APCC countries except ANZ) 1 x PowerEdge 2U Standard Bezel (Dell EMC) 1 x No Quick Sync 1 x Group Manager, Enabled 1 x iDRAC,Factory Generated Password 1 x Performance BIOS Setting 1 x UEFI BIOS Boot Mode with GPT Partition 1 x 6 Standard Fans for R740/740XD 1 x No Operating System 1 x Basic Next Business Day 36Months-ACDTS, 36 Month(s) 1 x ProSupport and Next Business Day Onsite Service-ACDTS, 36 Month(s) 1 x For SADMG Countries only - No Installation Service Required 1 x No Rack Rails or Cable Management Arm 1 x No Internal Optical Drive 1 x PowerEdge R740 Shipping (APCC/Taiwan), for 1300W below, V2 1 x PowerEdge R740 Shipping Material (Dell EMC) 1 x PowerEdge R740/R740XD No CE Marking, APCC, for 1300W PSU below 1 x No Systems Documentation, No OpenManage DVD Kit 1 x Mod Specs Info (SADMG) 1 x EX-HUB from APCC Penang(DDD) 1 x NONE | set | 1 | 265535500 | 50000 | 265535500 | 50000 | 265585500
| Server ( mail, web, file, VoD, BMS) | [16 empty] | 0 | 0 | 0
11 | Tường lửa |  |  |  | FPR1140-NGFW-K9 Cisco Firepower 1140 NGFW Appliance, 1U SOLN SUPP 8X5XNBD Cisco Firepower 1140 NGFW Appliance, 1U Cisco FPR1140 Threat Defense Threat, Malware and URL License Cisco FPR1140 Threat Defense Threat, Malware and URL 1Y Subs AC Power Cord (Europe), C13, CEE 7, 1.5M Cisco Firepower Threat Defense software v7.0.1 for FPR1000 Cisco Firepower 1K Series 200GB for FPR-1120/1140 Cisco Firepower 1K Series Accessory Kit for FPR-1120/1140 Cisco Firepower 1000 Standard ASA License Cisco Firepower QR Label - Internal Use Only 1000BASE-SX SFP transceiver module, MMF, 850nm, DOM | 0 | Cisco | China / Asia | set | 1 | FPR1140-NGFW-K9 | Cisco | Tường lửa FPR1140-NGFW-K9 Cisco Firepower 1140 NGFW Appliance, 1U SOLN SUPP 8X5XNBD Cisco Firepower 1140 NGFW Appliance, 1U Cisco FPR1140 Threat Defense Threat, Malware and URL License Cisco FPR1140 Threat Defense Threat, Malware and URL 1Y Subs AC Power Cord (Europe), C13, CEE 7, 1.5M Cisco Firepower Threat Defense software v7.0.1 for FPR1000 Cisco Firepower 1K Series 200GB for FPR-1120/1140 Cisco Firepower 1K Series Accessory Kit for FPR-1120/1140 Cisco Firepower 1000 Standard ASA License Cisco Firepower QR Label - Internal Use Only 1000BASE-SX SFP transceiver module, MMF, 850nm, DOM | set | 1 | 223442190 | 50000 | 223442190 | 50000 | 223492190
| Firewall | [16 empty] | 0 | 0 | 0
12 | Bộ định tuyến |  |  |  | ISR4431/K9 Cisco ISR 4431 (4GE,3NIM,8G FLASH,4G DRAM,IPB) SOLN SUPP 8X5XNBD Cisco ISR 4431 (4GE3NIM8G FLASH4G DRAM AC Power Supply for Cisco ISR 4430 AC Power Cord (Australia), C13, AS 3112, 2.5m IP Base License for Cisco ISR 4400 Series 4G DRAM (1 x 4G) for Cisco ISR 4400 8G eUSB Flash Memory for Cisco ISR 4430 Cover for empty 2nd Power Supply slot on Cisco ISR 4430 2G DRAM (1 DIMM) for Cisco ISR 4400 Data Plane Blank faceplate for NIM slot on Cisco ISR 4400 Cisco ISR 4400 Series IOS XE Universal 10GBASE-SR SFP Module | 0 | Cisco | China / Asia | set | 1 | ISR4431/K9 | Cisco | Bộ định tuyến ISR4431/K9 Cisco ISR 4431 (4GE,3NIM,8G FLASH,4G DRAM,IPB) SOLN SUPP 8X5XNBD Cisco ISR 4431 (4GE3NIM8G FLASH4G DRAM AC Power Supply for Cisco ISR 4430 AC Power Cord (Australia), C13, AS 3112, 2.5m IP Base License for Cisco ISR 4400 Series 4G DRAM (1 x 4G) for Cisco ISR 4400 8G eUSB Flash Memory for Cisco ISR 4430 Cover for empty 2nd Power Supply slot on Cisco ISR 4430 2G DRAM (1 DIMM) for Cisco ISR 4400 Data Plane Blank faceplate for NIM slot on Cisco ISR 4400 Cisco ISR 4400 Series IOS XE Universal 1000BASE-SX SFP transceiver module, MMF, 850nm, DOM | set | 1 | 210224700 | 50000 | 210224700 | 50000 | 210274700
| Router | [16 empty] | 0 | 0 | 0
13 | Bộ điều giải | [7 empty] | set | [8 empty] | 0 | 0 | 0
| Modem | [16 empty] | 0 | 0 | 0
14 | Bộ cân bằng tải |  |  |  | Thiết bị và phụ kiện Peplink BPL-580 5 Port WAN chuẩn Gigabit Ethernet 3 Port LAN chuẩn Gigabit Ethernet 1 Port USB WAN Modem Router Throughput up to 1.5Gbps Hỗ trợ tối đa lên đến 1.000 users Quản lý tối đa 100 AP | 0 | Peplink | Asia | set | 2 | BPL-580 | Peblink | Bộ cân bằng tải Thiết bị và phụ kiện Peplink BPL-580 5 Port WAN chuẩn Gigabit Ethernet 3 Port LAN chuẩn Gigabit Ethernet 1 Port USB WAN Modem Router Throughput up to 1.5Gbps Hỗ trợ tối đa lên đến 1.000 users Quản lý tối đa 100 AP | set | 2 | 170362846 | 30000 | 340725692 | 60000 | 340785692
| Load balance |  |  |  | 0 | 0 | 0 | 0 | [9 empty] | 0 | 0 | 0
15 | Thiết bị truy cấp Internet tốc độ cao |  |  |  | 0 | 0 | 0 | 0 | set | [8 empty] | 0 | 0 | 0
| HSIA Device |  |  |  | 0 | 0 | 0 | 0 | [9 empty] | 0 | 0 | 0
16 | Bộ điều khiển mạng không dây |  |  |  | Thiết bị quản lý chuyển mạch HPE Aruba 7205 (RW) 2-port 10GBASE-X (SFP+) Controller_JW735A / Dịch vụ bảo hành HPE Aruba 1Y FC NBD Exch 7205 Cntlr SVC [for JW735A]_H3CW3E / Dây nguồn HPE Aruba PC-AC-EC Continental European/Schuko AC Power Cord_JW118A / Phần mềm HPE Aruba LIC-AP Controller per AP Capacity License E-LTU_JW472AAE / Dịch vụ phần mềm HPE Aruba 1Y FC SW Cntrl per AP Cpty E-L SVC [for JW472AAE]_H2YU3E | 0 | HP Enterprise | USA | set | 1 | 7205 (RW) JW735A | HPE | - Thiết bị quản lý chuyển mạch HPE Aruba 7205 (RW) 2-port 10GBASE-X (SFP+) Controller_JW735A - Dịch vụ bảo hành HPE Aruba 1Y FC NBD Exch 7205 Cntlr SVC [for JW735A]_H3CW3E - Dây nguồn HPE Aruba PC-AC-EC Continental European/Schuko AC Power Cord_JW118A | set | 1 | 289315520 | 30000 | 289315520 | 30000 | 289345520
[11 empty] | E-LTU (JW472AAE) | HPE | - Phần mềm HPE Aruba LIC-AP Controller per AP Capacity License E-LTU_JW472AAE - Dịch vụ phần mềm HPE Aruba 1Y FC SW Cntrl per AP Cpty E-L SVC [for JW472AAE]_H2YU3E | set | 139 | 1539390 | [5 empty] | Đơn giá license AP sau này có phát sinht hêm số lượng AP hơn 139 thì dựa vào đơn giá này để oder thêm
| Wireless Controller | [16 empty] | 0 | 0 | 0
17 | Tổng đài IP-PABX 16CO/288 EX |  |  |  | Tổng đài IP UCM6308A - 1500 user, 200 cuộc gọi đồng thời - Kết nối làm việc online qua cloud với 25 máy, 4 kênh gọi qua app, web - Màn hình LCD hiển thị thông tin tổng đài - 3 cổng mạng Gigabit (PoE), 2 cổng USB, Khe SD - Thoại hội nghị audio 150 bên - Hỗ trợ kết nối cloud từ xa - Full tính năng: Hiển thị số, lời chào tự động, ghi âm cuộc gọi... - Hỗ trợ HA (Redundant) chạy backup tổng đài tự động khi 1 tổng đài lỗi Lắp đặt: Gắn rack 19" hoặc để bàn / Gateway 8 cổng FXO – WAN/LAN / Điện thoại ip GRP2615 - Màn hình mầu 4,3 - 5 tài khoản SIP, âm thanh chuẩn HD - 2 cổng mạng Gigabit hỗ trợ PoE, hỗ trợ wifi 2.4/5Ghz, bluetooth kết nối tai nghe không dây, cổng usb - Danh bạ 2000 số, lịch sử cuộc gọi 2000 số, hỗ trợ quản lý qua cloud từ PC và smartphone, 40 phím mềm gọi nhanh / Điện thoại IP, 2 cổng LAN 10/100, có PoE, 2 tài khoản SIP, Màn hình LCD, Jack tai nghe RJ9, Contact 1000 số, Call log 200 số, tích hợp quản lý Cloud | 0 | Grandstream | USA | set | 1 | UCM6308A | Grandstream | Tổng đài IP-PABX 16CO/288 EX Tổng đài IP UCM6308A - 1500 user, 200 cuộc gọi đồng thời - Kết nối làm việc online qua cloud với 25 máy, 4 kênh gọi qua app, web - Màn hình LCD hiển thị thông tin tổng đài - 3 cổng mạng Gigabit (PoE), 2 cổng USB, Khe SD - Thoại hội nghị audio 150 bên - Hỗ trợ kết nối cloud từ xa - Full tính năng: Hiển thị số, lời chào tự động, ghi âm cuộc gọi... - Hỗ trợ HA (Redundant) chạy backup tổng đài tự động khi 1 tổng đài lỗi Lắp đặt: Gắn rack 19" hoặc để bàn / Gateway 8 cổng FXO – WAN/LAN | set | 1 | 50164850 | 20000 | 50164850 | 20000 | 50184850
| IP-PABX | [9 empty] | GRP2615 |  | Điện thoại ip GRP2615 - Màn hình mầu 4,3 - 5 tài khoản SIP, âm thanh chuẩn HD - 2 cổng mạng Gigabit hỗ trợ PoE, hỗ trợ wifi 2.4/5Ghz, bluetooth kết nối tai nghe không dây, cổng usb - Danh bạ 2000 số, lịch sử cuộc gọi 2000 số, hỗ trợ quản lý qua cloud từ PC và smartphone, 40 phím mềm gọi nhanh / Điện thoại IP, 2 cổng LAN 10/100, có PoE, 2 tài khoản SIP, Màn hình LCD, Jack tai nghe RJ9, Contact 1000 số, Call log 200 số, tích hợp quản lý Cloud | set | 1 | 3819370 | 10000 | 3819370 | 10000 | 3829370
18 | Bộ chuyển mạch 24 Ports, 2 SFP |  |  |  | C9200-24T-E Catalyst 9200 24-port data only, Network Essentials SNTC-8X5XNBD Catalyst 9200 24-port data only, Network Config 5 Power Supply Blank C9200 Network Essentials, 24-port license Catalyst 9200 4 x 10G Network Module Europe AC Type A Power Cable C9200 Cisco DNA Essentials, 24-Port Term Licenses C9200 Cisco DNA Essentials, 24-Port, 3 Year Term License Network Plug-n-Play Connect for zero-touch device deployment | 0 | Cisco | China / Asia | set | 1 | C9200-24T-E | Cisco | Bộ chuyển mạch 24 Ports, 2 SFP C9200-24T-E Catalyst 9200 24-port data only, Network Essentials SNTC-8X5XNBD Catalyst 9200 24-port data only, Network Config 5 Power Supply Blank C9200 Network Essentials, 24-port license Catalyst 9200 4 x 10G Network Module Europe AC Type A Power Cable C9200 Cisco DNA Essentials, 24-Port Term Licenses C9200 Cisco DNA Essentials, 24-Port, 3 Year Term License Network Plug-n-Play Connect for zero-touch device deployment | set | 1 | 71420373 | 20000 | 71420373 | 20000 | 71440373
| Switch 24 Ports, 2 SFP | [16 empty] | 0 | 0 | 0
19 | Patch panel 24 port |  |  |  | 760237040 COMMSCOPE SL DDM Patch Panel, UTP, 1U, 24 port, Straight, Unload / 9-1375055-2 COMMSCOPE SL Jack, Category 6, UTP, without Dust Cover, Black, in bulk pack | 0 | Commscope | China | set | 1 | 760237040 9-1375055-2 | Commscope | Patch panel 24 port 760237040 COMMSCOPE SL DDM Patch Panel, UTP, 1U, 24 port, Straight, Unload / 9-1375055-2 COMMSCOPE SL Jack, Category 6, UTP, without Dust Cover, Black, in bulk pack | set | 1 | 2739280 | 720000 | 2739280 | 720000 | 3459280 | Bao gồm nhân công tool patch-panel
| Patch panel 24 port | [16 empty] | 0 | 0 | 0
20 | Bộ chuyển mạch chính 24 cổng |  |  |  | 0 | 0 | 0 | 0 | set | 2 | C9300X-24Y-A | cisco | Core switch 24 ports Catalyst 9300X 24x25G Fiber Ports, modular uplink Switch SNTC-8X5XNBD Catalyst 9300X 24x25G Fiber Ports, modul Cisco Catalyst 9300 XE 17.6 UNIVERSAL UNIVERSAL 715W AC 80+ platinum Config 1 Power Supply No Secondary Power Supply Selected Europe AC Type A Power Cable C9300 Network Advantage, 24-port license No Stack Cable Selected Catalyst Stack Power Cable 150 CM - Upgrade No SSD Card Selected Config 1 Power Supply Blank TE agent for IOSXE on C9K C9300 DNA Advantage, Term License DNA Advantage 3 Year License Cisco ThousandEyes Enterprise Agent IBN Embedded ThousandEyes - Enterprise Agents Prime Infrastructure Lifecycle & Assurance Term - Smart Lic PI Dev Lic for Lifecycle & Assurance Term 3Y Catalyst 9300 8 x 10G/25G Network Module SFP+/SFP28 Network Plug-n-Play Connect for zero-touch device deployment | set | 1 | 411890400 | 50000 | 411890400 | 50000 | 411940400 |  | SL cần 1 core switch trung tâm 24 port SFP vì tổng chỉ có 20 switch cho hệ thống IT kết nối cáp quang về
| Core switch 24 ports | [16 empty] | 0 | 0 | 0
21 | Thiết bị đầu cuối mạng quang_ONT |  |  |  | 0 | CGP-ONT-4P | cisco | China | set | 1 | CGP-ONT-4P | cisco | Thiết bị đầu cuối mạng quang_ONT Thiết bị ONT Cisco GPON ONT 4X1G PoE+, 2.5G uplink AC Power Cord (Europe), C13, CEE 7, 1.5M | set | 1 | 5007240 | 10000 | 5007240 | 10000 | 5017240
| Optical Network Terminal_ONT | [16 empty] | 0 | 0 | 0
22 | Tủ rack chính 19'' |  |  |  | 0 | VRV42-8100 | Vietrack | China | set | 1 | VRV42-8100 | Vietrack | Tủ rack chính 19'' V-Series Server Cabinet 42U 800 x 1000, Black | set | 1 | 17688920 | 90000 | 17688920 | 90000 | 17778920
| Enclosure main rack 19'' | [16 empty] | 0 | 0 | 0
23 | Hộp nối quang ODF 1x 72 FO |  |  |  | 760244403 CommScope® Fiber Optic Panel,1U, 19 in, unloaded for 24 LC duplex or 24 SC simplex adaptors, black / CZ9340-000 CommScope® Adapter LC Duplex, Flanged, Blue / 760241378 CommScope® 48 Fibers Slicing Tray Kit / 2105081-1 Fiber Optic Patch Cord, Simplex, 0.9mm,SM, LC/UPC to LC/UPC, Yellow, 1M | 0 | Commscope | China | set | 1 | 760244403 CZ9340-000 760241378 2105081-1 | Commscope | Hộp nối quang ODF 1x 72 FO 760244403 CommScope® Fiber Optic Panel,1U, 19 in, unloaded for 24 LC duplex or 24 SC simplex adaptors, black / CZ9340-000 CommScope® Adapter LC Duplex, Flanged, Blue / 760241378 CommScope® 48 Fibers Slicing Tray Kit 2105081-1 Fiber Optic Patch Cord, Simplex, 0.9mm,SM, LC/UPC to LC/UPC, Yellow, 1M | set | 1 | 33904410 | 3600000 | 33904410 | 3600000 | 37504410 | Bao gồm chi phí hàn cáp quang ở phần nhân công
| ODF 1x 72 FO | [16 empty] | 0 | 0 | 0
24 | Phụ kiện kết nối |  |  |  | 0 | 0 | 0 | 0 | set | 1 | [7 empty] | 0 | 0 | 0
| Connection accessories | [16 empty] | 0 | 0 | 0
add | Hệ thống cấp nguồn UPS trung tâm bao gồm cả phần nguồn cấp cho access door |  |  |  |  | 0 | Socomec | China | set | 1 | MASTERYS BC+ | Socomec | Hệ thống cấp nguồn UPS trung tâm bao gồm cả phần nguồn cấp cho access door: SOCOMEC MASTERYS BC+ 20KVA 3:1 | set | 1 | 203315238 | 350000 | 203315238 | 350000 | 203665238 | Bao gồm đấu nối nguồn, không bao gồm chi phí kéo cáp điện
| Centrer UPS system include assumption power supply for access control | [16 empty] | 0 | 0 | 0
| Tầng | [16 empty] | 0 | 0 | 0
| Floor | [16 empty] | 0 | 0 | 0
26 | Bộ chuyển mạch POE 48 cổng |  |  |  | Catalyst 9200 48-port PoE+, Network Essentials SOLN SUPP 8X5XNBD Catalyst 9200 48-port PoE+, Network Esse Config 5 Power Supply Blank C9200 Network Essentials, 48-port license Catalyst 9200 4 x 10G Network Module Europe AC Type A Power Cable C9200 Cisco DNA Essentials, 48-Port Term Licenses C9200 Cisco DNA Essentials, 48-port - 3 Year Term License SOLN SUPP SW SUBC9200 Cisco DNA Esse Network Plug-n-Play Connect for zero-touch device deployment | 0 | Cisco | China / Asia | no | 1 | C9200-48P-E | cisco | Switch 48 POE Ports, 2 SFP Catalyst 9200 48-port PoE+, Network Essentials SNTC-8X5XNBD Catalyst 9200 48-port PoE+, Network Esse Config 5 Power Supply Blank C9200 Network Essentials, 48-port license Catalyst 9200 4 x 10G Network Module Europe AC Type A Power Cable C9200 Cisco DNA Essentials, 48-Port Term Licenses C9200 Cisco DNA Essentials, 48-port - 3 Year Term License Network Plug-n-Play Connect for zero-touch device deployment | set | 1 | 160220840 | 20000 | 160220840 | 20000 | 160240840
| Switch 48 POE Ports, 2 SFP | [16 empty] | 0 | 0 | 0
27 | Bộ chuyển mạch POE 24 cổng, 2 SFP |  |  |  | C9200-24P-E Catalyst 9200 24-port PoE+, Network Essentials SOLN SUPP 8X5XNBD Catalyst 9200 24-port PoE+, Network Esse Config 5 Power Supply Blank C9200 Network Essentials, 24-port license Catalyst 9200 4 x 10G Network Module Europe AC Type A Power Cable C9200 Cisco DNA Essentials, 24-Port Term Licenses C9200 Cisco DNA Essentials, 24-Port, 3 Year Term License SOLN SUPP SW SUBC9200 Cisco DNA Esse Network Plug-n-Play Connect for zero-touch device deployment | 0 | Cisco | China / Asia | no | 4 | C9200-24P-E | cisco | Switch POE 24 Ports, 2 SFP C9200-24P-E Catalyst 9200 24-port PoE+, Network Essentials SNTC-8X5XNBD Catalyst 9200 24-port PoE+, Network Esse Config 5 Power Supply Blank C9200 Network Essentials, 24-port license Catalyst 9200 4 x 10G Network Module Europe AC Type A Power Cable C9200 Cisco DNA Essentials, 24-Port Term Licenses C9200 Cisco DNA Essentials, 24-Port, 3 Year Term License Network Plug-n-Play Connect for zero-touch device deployment | set | 4 | 88868640 | 20000 | 355474560 | 80000 | 355554560
| Switch POE 24 Ports, 2 SFP | [16 empty] | 0 | 0 | 0
28 | Bộ chuyển mạch POE 16 cổng |  |  |  | Catalyst 1000 16port GE, POE, 2x1G SFP AC Power Cord (Europe), C13, CEE 7, 1.5M CSCO SUP ESS 8X5XNBD Catalyst 1000 16port GE, POE, 2x1G SFP | 0 | Cisco | China / Asia | no | 3 | C1000-16P-2G-L | Cisco | Switch POE 16 Ports, 2 SFP Catalyst 1000 16port GE, POE, 2x1G SFP AC Power Cord (Europe), C13, CEE 7, 1.5M CSCO SUP ESS 8X5XNBD Catalyst 1000 16port GE, POE, 2x1G SFP | set | 3 | 18247860 | 20000 | 54743580 | 60000 | 54803580
| Switch POE 16 Ports, 2 SFP | [16 empty] | 0 | 0 | 0
29 | Bộ chuyển mạch 48 cổng, 2 SFP |  |  |  | Catalyst 9200 48-port data only, Network Essentials SOLN SUPP 8X5XNBD Catalyst 9200 48-port data only, Network Config 5 Power Supply Blank C9200 Network Essentials, 48-port license Europe AC Type A Power Cable C9200 Cisco DNA Essentials, 48-Port Term Licenses C9200 Cisco DNA Essentials, 48-port - 3 Year Term License SOLN SUPP SW SUBC9200 Cisco DNA Esse Network Plug-n-Play Connect for zero-touch device deployment Catalyst 9200 4 x 10G Network Module | 0 | Cisco | China / Asia | no | 8 | C9200-48T-E | Cisco | Bộ chuyển mạch 48 cổng, 2 SFP Catalyst 9200 48-port data only, Network Essentials SNTC-8X5XNBD Catalyst 9200 48-port data only, Network Config 5 Power Supply Blank C9200 Network Essentials, 48-port license Catalyst 9200 4 x 10G Network Module Europe AC Type A Power Cable C9200 Cisco DNA Essentials, 48-Port Term Licenses C9200 Cisco DNA Essentials, 48-port - 3 Year Term License Network Plug-n-Play Connect for zero-touch device deployment | set | 8 | 115610230 | 20000 | 924881840 | 160000 | 925041840
| Switch 48 Ports, 2 SFP | [16 empty] | 0 | 0 | 0
30 | Bộ chuyển mạch 24 cổng, 2 SFP |  |  |  | C9200-24T-E Catalyst 9200 24-port data only, Network Essentials SNTC-8X5XNBD Catalyst 9200 24-port data only, Network Config 5 Power Supply Blank C9200 Network Essentials, 24-port license Catalyst 9200 4 x 10G Network Module Europe AC Type A Power Cable C9200 Cisco DNA Essentials, 24-Port Term Licenses C9200 Cisco DNA Essentials, 24-Port, 3 Year Term License Network Plug-n-Play Connect for zero-touch device deployment /42x 10GBASE-SR SFP Module | 0 | Cisco | China / Asia | no | 3 | C9200-24T-E | Cisco | Bộ chuyển mạch 24 cổng, 2 SFP C9200-24T-E Catalyst 9200 24-port data only, Network Essentials SNTC-8X5XNBD Catalyst 9200 24-port data only, Network Config 5 Power Supply Blank C9200 Network Essentials, 24-port license Catalyst 9200 4 x 10G Network Module Europe AC Type A Power Cable C9200 Cisco DNA Essentials, 24-Port Term Licenses C9200 Cisco DNA Essentials, 24-Port, 3 Year Term License Network Plug-n-Play Connect for zero-touch device deployment | set | 3 | 78483940 | 20000 | 235451820 | 60000 | 235511820
[11 empty] | SFP-10G-SR | Cisco | Module quang 10G 10GBASE-SR SFP Module | set | 42 | 13326058 | 10000 | 559694436 | 420000 | 560114436
| Switch 24 Ports, 2 SFP | [16 empty] | 0 | 0 | 0
33 | Patch panel 16 ports |  |  |  | 0 | 760237040 + 9-1375055-2 | Commscope | China | set | 3 | 760237040 + 9-1375055-2 | Commscope | Patch panel 16 ports 760237040 COMMSCOPE SL DDM Patch Panel, UTP, 1U, 24 port, Straight, Unload 9-1375055-2 COMMSCOPE SL Jack, Category 6, UTP, without Dust Cover, Black, in bulk pack | set | 3 | 2739280 | 480000 | 8217840 | 1440000 | 9657840 | Bao gồm chi phí tool patch-panel
| Patch panel 16 ports | [16 empty] | 0 | 0 | 0
32 | Patch panel 24 ports |  |  |  | 0 | 760237040 + 9-1375055-2 | Commscope | China | set | 7 | 760237040 + 9-1375055-2 | Commscope | Patch panel 24 ports 760237040 COMMSCOPE SL DDM Patch Panel, UTP, 1U, 24 port, Straight, Unload 9-1375055-2 COMMSCOPE SL Jack, Category 6, UTP, without Dust Cover, Black, in bulk pack | set | 7 | 2739280 | 720000 | 19174960 | 5040000 | 24214960 | Bao gồm chi phí tool patch-panel
| Patch panel 24 ports | [16 empty] | 0 | 0 | 0
31 | Patch panel 48 ports |  |  |  | 0 | 760237041 9-1375055-2 | Commscope | China | set | 9 | 760237041 + 9-1375055-2 | Commscope | Patch panel 48 ports 760237041 COMMSCOPE SL DDM Patch Panel, UTP, 2U, 48 port, Straight, Unload 9-1375055-2 COMMSCOPE SL Jack, Category 6, UTP, without Dust Cover, Black, in bulk pack | set | 9 | 5705540 | 1440000 | 51349860 | 12960000 | 64309860 | Bao gồm chi phí tool patch-panel
| Patch panel 48 ports | [16 empty] | 0 | 0 | 0
34 | Bộ phối quang 12 FO |  |  |  | 760244403-CommScope® Fiber Optic Panel,1U, 19 in, unloaded for 24 LC duplex or 24 SC simplex adaptors, black / CZ9340-000-CommScope® Adapter LC Duplex, Flanged, Blue / 1671281-1-CommScope® Splice Tray kit SMOUV / 2105081-1-Fiber Optic Patch Cord, Simplex, 0.9mm,SM, LC/UPC to LC/UPC, Yellow, 1M | 0 | Commscope | China | no | 4 | 760244403 CZ9340-000 1671281-1 2105081-1 | Commscope | Bộ phối quang 12 FO 760244403-CommScope® Fiber Optic Panel,1U, 19 in, unloaded for 24 LC duplex or 24 SC simplex adaptors, black CZ9340-000-CommScope® Adapter LC Duplex, Flanged, Blue 1671281-1-CommScope® Splice Tray kit SMOUV 2105081-1-Fiber Optic Patch Cord, Simplex, 0.9mm,SM, LC/UPC to LC/UPC, Yellow, 1M | set | 4 | 20957820 | 600000 | 83831280 | 2400000 | 86231280 | Bao gồm chi phí hàn cáp quang
| ODF 12 FO | [16 empty] | 0 | 0 | 0
35 | Bộ phối quang 8 FO |  |  |  | 760244403-CommScope® Fiber Optic Panel,1U, 19 in, unloaded for 24 LC duplex or 24 SC simplex adaptors, black / CZ9340-000-CommScope® Adapter LC Duplex, Flanged, Blue / 1671281-1-CommScope® Splice Tray kit SMOUV / 2105081-1-Fiber Optic Patch Cord, Simplex, 0.9mm,SM, LC/UPC to LC/UPC, Yellow, 1M / | 0 | Commscope | China | no | 4 | 760244403 CZ9340-000 1671281-1 2105081-1 | Commscope | Bộ phối quang 8 FO 760244403-CommScope® Fiber Optic Panel,1U, 19 in, unloaded for 24 LC duplex or 24 SC simplex adaptors, black CZ9340-000-CommScope® Adapter LC Duplex, Flanged, Blue 1671281-1-CommScope® Splice Tray kit SMOUV 2105081-1-Fiber Optic Patch Cord, Simplex, 0.9mm,SM, LC/UPC to LC/UPC, Yellow, 1M | set | 4 | 19932530 | 400000 | 79730120 | 1600000 | 81330120 | Bao gồm chi phí hàn cáp quang
| ODF 8 FO | [16 empty] | 0 | 0 | 0
36 | Tủ rack |  |  |  | 0 | VRV42-8100 | Vietrack | China | no | 8 | VRV42-8100 | Vietrack | Tủ rack V-Series Server Cabinet 42U 800 x 1000, Black | set | 8 | 17688920 | 90000 | 141511360 | 720000 | 142231360
| Enclosure rack | [16 empty] | 0 | 0 | 0
[18 empty] | 0 | 0 | 0
| Cáp hạ tầng bao gồm đầu nối, kết nối cáp, phụ kiện và vật tư phụ (Cáp từ nhà cung cấp dịch vụ đến phòng MDF được thực hiện bởi đơn vị khác) | [16 empty] | 0 | 0 | 0
| Backbone cables including cable jacks, connection to switches or patch panels, fittings and accessories (Incoming cables for connection from service provider to MDF room by others) | [16 empty] | 0 | 0 | 0
37 | Cáp quang 8FO SM |  |  |  | 760249372 FO CABLE, INDOOR, 8F, G657A1, LSZH | 0 | Commscope | China | m | 727 | 760249372 | Commscope | Cáp quang 8FO SM 760249372 FO CABLE, INDOOR, 8F, G657A1, LSZH | m | 727 | 42500 |  | 30897500 | 0 | 30897500 | Thi công kéo cáp quang nhà thầu Xây Dựng làm
| Fiber optical cable 8FO SM | [16 empty] | 0 | 0 | 0
38 | Cáp quang 12FO SM |  |  |  | 760249373 FO CABLE, INDOOR, 12F, G657A1, LSZH | 0 | Commscope | China | m | 481 | 760249373 | Commscope | Cáp quang 12 FO SM 760249373 FO CABLE, INDOOR, 12F, G657A1, LSZH | m | 481 | 58000 |  | 27898000 | 0 | 27898000 | Thi công kéo cáp quang nhà thầu Xây Dựng làm
| Fiber optical cable 12FO SM | [16 empty] | 0 | 0 | 0
[18 empty] | 0 | 0 | 0
| Thiết bị đầu cuối bao gồm đế, kết nối cáp, phụ kiện và vật tư phụ | [16 empty] | 0 | 0 | 0
| Final circuit devices including all bases, connection to cables, fittings and accessories | [16 empty] | 0 | 0 | 0
39 | Ổ cắm mạng RJ45 |  |  |  | 272368-1 COMMSCOPE US Style Low Profile Faceplate, 1-Port Shuttered, w/Label & Icon, Almond(FACEPLATE KIT, SHUTTER, 1 PORT) / 1375055-1 COMMSCOPE Category 6 Modular Jack, Unshielded, RJ45, SL, T568A/B, Almond (ASSY, SL 110JACK, C6, LT.ALMOND) | 0 | COMMSCOPE / NSP | Thái Lan / US/ MX / VN | bộ/no | 288 | 272368-1 1375055-1 | Commscope | Ổ cắm mạng RJ45 272368-1 COMMSCOPE US Style Low Profile Faceplate, 1-Port Shuttered, w/Label & Icon, Almond(FACEPLATE KIT, SHUTTER, 1 PORT) / 1375055-1 COMMSCOPE Category 6 Modular Jack, Unshielded, RJ45, SL, T568A/B, Almond (ASSY, SL 110JACK, C6, LT.ALMOND) | set | 288 | 132000 | 30000 | 38016000 | 8640000 | 46656000
| Data outlet RJ45 | [16 empty] | 0 | 0 | 0
40 | Ổ cắm thoại RJ45 |  |  |  | Ổ cắm đơn 1xRJ11, lắp âm tường (trọn bộ bao gồm đế, mặt, hạt) / 272368-1 COMMSCOPE US Style Low Profile Faceplate, 1-Port Shuttered, w/Label & Icon, Almond(FACEPLATE KIT, SHUTTER, 1 PORT) / 1375055-1 COMMSCOPE Category 6 Modular Jack, Unshielded, RJ45, SL, T568A/B, Almond (ASSY, SL 110JACK, C6, LT.ALMOND) | 0 | COMMSCOPE / NSP | Thái Lan / US/ MX / VN | bộ/no | 55 | 272368-1 1375055-1 | Commscope | Ổ cắm thoại RJ45 Ổ cắm đơn 1xRJ11, lắp âm tường (trọn bộ bao gồm đế, mặt, hạt) / 272368-1 COMMSCOPE US Style Low Profile Faceplate, 1-Port Shuttered, w/Label & Icon, Almond(FACEPLATE KIT, SHUTTER, 1 PORT) / 1375055-1 COMMSCOPE Category 6 Modular Jack, Unshielded, RJ45, SL, T568A/B, Almond (ASSY, SL 110JACK, C6, LT.ALMOND) | set | 55 | 132000 | 30000 | 7260000 | 1650000 | 8910000
| Phone outlet RJ45 | [16 empty] | 0 | 0 | 0
41 | Bộ phát WIFI |  |  |  | Thiết bị thu phát sóng không dây HPE Aruba AP-505 (RW) Unified AP_R2H28A / Thiết bị thu phát sóng không dây HPE Aruba AP-555 (RW) Unified AP_JZ356A / Dịch vụ bảo hành HPE Aruba 1Y FC NBD Exch AP-505 SVC [for R2H28A]_HP9V9E / Khung gắn thiết bị HPE Aruba AP-MNT-MP10-D AP mount bracket 10-pack D_Q9G71A | 0 | HP Enterprise | (USA) | bộ/no | 119 | AP-505 (RW) R2H28A | HPE | Thiết bị thu phát sóng không dây HPE Aruba AP-505 (RW) Unified AP_R2H28A Dịch vụ bảo hành HPE Aruba 1Y FC NBD Exch AP-505 SVC [for R2H28A]_HP9V9E Khung gắn thiết bị HPE Aruba AP-MNT-D AP mount bracket R3J18A | set | 119 | 9625000 | 70000 | 1145375000 | 8330000 | 1153705000 | Đơn giá hỗ trợ bằng đơn giá nhập
[11 empty] | AP-555 (RW) JZ356A | HPE | Thiết bị thu phát sóng không dây HPE Aruba AP-555 (RW) Unified AP_JZ356A Khung gắn thiết bị HPE Aruba AP-MNT-D AP mount bracket R3J18A Dịch vụ bảo hành HPE Aruba 1Y FC NBD Exch AP 555 SVC [for JZ356A]_HJ6S3E | set | 20 | 25750000 | 70000 | 515000000 | 1400000 | 516400000
| WIFI | [16 empty] | 0 | 0 | 0
[18 empty] | 0 | 0 | 0
| Cáp nguồn cuối và ống luồn bao gồm hộp rẽ nhánh, nối, kết nối, phụ kiện và vật tư phụ | [16 empty] | 0 | 0 | 0
| Final circuit cables and conduits including junction boxes, joints, connection, fittings and accessories | [16 empty] | 0 | 0 | 0
42 | Cáp CAT6 UTP 4 pairs |  |  |  | 1427254-6 COMMSCOPE Category 6 UTP Cable, 4-Pair, 23AWG, Solid, CM, 305m, Blue (CABLE, CAT6, 4UTP, 23AWG, CM, 75C, BLUE) | 0 | Commscope | China | m | 54290 | 1427254-6 | Commscope | Cáp CAT6 UTP 4 pairs 1427254-6 COMMSCOPE Category 6 UTP Cable, 4-Pair, 23AWG, Solid, CM, 305m, Blue (CABLE, CAT6, 4UTP, 23AWG, CM, 75C, BLUE) | m | 54290 | 11313 |  | 614182770 | 0 | 614182770 | Thi công kéo cáp đồng nhà thầu Xây Dựng làm
| Cable CAT6 UTP 4 pairs | [16 empty] | 0 | 0 | 0
43 | Ống luồn PVC; D20mm |  |  |  | 750N | ARC20/M | AC | Việt Nam | m | 11114 | [7 empty] | 0 | 0 | 0
| PVC conduit; 20mm diameter | [16 empty] | 0 | 0 | 0
44 | Phụ kiện và vật tự phụ |  |  |  | 0 | 0 | 0 | 0 | lô/lot | 1 | [7 empty] | 0 | 0 | 0
| Fittings and accessories | [16 empty] | 0 | 0 | 0
45 | Vật tư dự phòng |  |  |  | 0 | 0 | 0 | 0 | lô/lot | 1 | [7 empty] | 0 | 0 | 0
| Spare part | [16 empty] | 0 | 0 | 0
[18 empty] | 0 | 0 | 0
add | Vật tư bổ sung hoàn thiện hệ thống và các chi phí khác | [9 empty] | Vietnet | Vietnet | Chi phí T&C hệ thống IT | lot | 1 | 233000000 |  | 233000000 | 0 | 233000000 | Bao gồm chi phí cấu hình thiết bị, hướng dẫn, training
| Other material | [16 empty] | 0 | 0 | 0
B | HỆ THỐNG MẠNG, ĐIỆN THOẠI VÀ TIVI | [16 empty] | 0 | 0 | 0
| DATA, TELEPHONE AND TELEVISION SYSTEM | [16 empty] | 0 | 0 | 0
[18 empty] | 0 | 0 | 0
| Thiết bị hạ tầng bao gồm kết nối, lập trình, kiểm tra, vận hành, phụ kiện và vật tư phụ | [16 empty] | 0 | 0 | 0
| Backbone equipment including connection, programming, testing, commissioning, fittings and accessories | [16 empty] | 0 | 0 | 0
[18 empty] | 0 | 0 | 0
| Thiết bị đầu cuối bao gồm đế, kết nối cáp, phụ kiện và vật tư phụ | [16 empty] | 0 | 0 | 0
| Final circuit devices including all bases, connection to cables, fittings and accessories | [16 empty] | 0 | 0 | 0
4 | Ổ cắm mạng RJ45 |  |  | 0 | 282463 | Legrand | China | bộ/no | bộ/no | 20 | 272368-1 1375055-1 | Commscope | Ổ cắm thoại RJ45 Ổ cắm đơn 1xRJ11, lắp âm tường (trọn bộ bao gồm đế, mặt, hạt) / 272368-1 COMMSCOPE US Style Low Profile Faceplate, 1-Port Shuttered, w/Label & Icon, Almond(FACEPLATE KIT, SHUTTER, 1 PORT) / 1375055-1 COMMSCOPE Category 6 Modular Jack, Unshielded, RJ45, SL, T568A/B, Almond (ASSY, SL 110JACK, C6, LT.ALMOND) | set | 20 | 132000 | 30000 | 2640000 | 600000 | 3240000
| Data outlet RJ45 | [16 empty] | 0 | 0 | 0
5 | Bộ phát WIFI |  |  | 0 | OAW-AP1201-RW | Alcatel-Lucent Enterprise | china | bộ/no | bộ/no | 17 | AP-505 (RW) R2H28A | HPE | Thiết bị thu phát sóng không dây HPE Aruba AP-505 (RW) Unified AP_R2H28A Dịch vụ bảo hành HPE Aruba 1Y FC NBD Exch AP-505 SVC [for R2H28A]_HP9V9E Khung gắn thiết bị HPE Aruba AP-MNT-D AP mount bracket R3J18A | set | 17 | 9625000 | 70000 | 163625000 | 1190000 | 164815000 | Đơn giá hỗ trợ bằng đơn giá nhập
| WIFI | [16 empty] | 0 | 0 | 0
[18 empty] | 0 | 0 | 0
| Cáp nguồn cuối và ống luồn bao gồm hộp rẽ nhánh, nối, kết nối, phụ kiện và vật tư phụ | [16 empty] | 0 | 0 | 0
| Final circuit cables and conduits including junction boxes, joints, connection, fittings and accessories | [16 empty] | 0 | 0 | 0
6 | Cáp CAT6 UTP 4 pairs |  |  | Belden CAT6 UTP Cable, Nonbonded-Pair, 4-pair, 24AWG, CM | 7814A | Belden | China | m | m | 2017 | 1427254-6 | Commscope | Cáp CAT6 UTP 4 pairs 1427254-6 COMMSCOPE Category 6 UTP Cable, 4-Pair, 23AWG, Solid, CM, 305m, Blue (CABLE, CAT6, 4UTP, 23AWG, CM, 75C, BLUE) | m | 2017 | 11313 |  | 22818321 | 0 | 22818321 | Thi công kéo cáp đồng nhà thầu Xây Dựng làm
| Cable CAT6 UTP 4 pairs | [16 empty] | 0 | 0 | 0
7 | Ống luồn PVC; D20mm |  |  | 750N | ARC20/M | AC | Việt Nam | m | m | 1613.6 | [7 empty] | 0 | 0 | 0
| PVC conduit; 20mm diameter | [16 empty] | 0 | 0 | 0
8 | Phụ kiện và vật tự phụ |  |  | 0 | 0 | 0 | 0 | lô/lot | lô/lot | 1 | [7 empty] | 0 | 0 | 0
| Fittings and accessories | [16 empty] | 0 | 0 | 0
[18 empty] | 0 | 0 | 0
| Vật tư bổ sung hoàn thiện hệ thống và các chi phí khác | [16 empty] | 0 | 0 | 0
Other material
| TỔNG GIÁ TRỊ HẠNG MỤC | [16 empty] | 6606986750 | 51880000 | 7656068770
Các Điều Khoản Thương Mại:
1. Giá trên đã bao gồm 10% thuế GTGT và chi phí vận chuyển giao nhận tại TP.Hà Nội
2. Bảo hành thiết bị theo tiêu chuẩn của nhà sản xuất 12 tháng.
3. Giao hàng: trong vòng 20-40 tuần làm việc sau khi ký hợp đồng & nhận được tạm ứng đợt 1.
4. Thanh toán: chuyển khoản ngân hàng
- Tạm ứng 20% trong vòng 5-7 ngày kể từ ngày hai bên ký hợp đồng mua bán.
- Thanh toán 70% hợp đồng có thời hạn 35 ngày kể từ ngày bên bán gửi file mềm được thông báo giao hàng & các giấy tờ chứng nhận CO,CQ, packing list
- Thanh toán 10% giá trị còn lại trong vòng 30 ngày kể từ ngày nhận thư BLBH 5% giá trị hợp đồng và bộ hồ sơ thanh toán
5. Báo giá có giá trị đến ngày 31/12/2022.
CÔNG TY CỔ PHẦN THƯƠNG MẠI KỸ THUẬT VIỆT NÉT
Giám Đốc
Phan Thanh Sơn

## CHỐT
DỰ ÁN TRƯỜNG DWIGHT HÀ NỘI
DWIGHT SCHOOL HANOI PROJECT | [10 empty] | Kính gửi: CÔNG TY CỔ PHẦN KỸ THUẬT CÔNG NGHỆ SÀI GÒN (TECHGEL)
Địa chỉ: 30 Phan Chu Trinh, Phường 2, Quận Bình Thạnh, TP. Hồ Chí Minh, Việt Nam
PHẦN 3 - HỆ THỐNG ĐIỆN NHẸ | [10 empty] | Project: Hệ thống IT Dự án trường học quốc tế Dwight trong khu đô thị The Manor Central Park - TP.Hà Nội
DIVISION 3 - EXTRA LOW VOLTAGE ELECTRICAL SYSTEM
Stt No | Diễn giải Description | Thương hiệu Brand | Xuất Xứ Original | Mã hiệu Model | TECHGEL OFFER |  |  |  | Đơn vị Unit | Khối lượng nhà thầu Quantity | THÔNG TIN NHÀ CUNG CẤP VIETNET
[5 empty] | Mô tả kỹ thuật | Mã hiệu | Nhãn hiệu | Xuất xứ |  |  | Tên hàng hóa | Nhãn hiệu | Thông số kỹ thuật | ĐVT | Số lượng | Đơn giá Vật tư | Đơn giá Nhân công | Thành tiền Vật tư | Diễn giải | GHI CHÚ
B | HỆ THỐNG MẠNG, ĐIỆN THOẠI VÀ TIVI |  |  |  |  | FPT | FPT
DATA, TELEPHONE AND TELEVISION SYSTEM
Thiết bị hạ tầng bao gồm kết nối, lập trình, kiểm tra, vận hành, phụ kiện và vật tư phụ
Backbone equipment including connection, programming, testing, commissioning, fittings and accessories
Phòng MDF
MDF room
10 | Máy chủ( mail, web, file, VoD, BMS) |  |  |  | Dell(TM) PowerEdge(TM) R740 Rack Mount Server 1 x PowerEdge R740 Server 1 x PowerEdge R740/R740XD Motherboard 1 x No Trusted Platform Module 1 x Chassis with up to 8 x 2.5" SAS/SATA Hard Drives for 2CPU Config, PERC/HBA11 1 x Intel® Xeon® Silver 4210R 2.4G, 10C/20T, 9.6GT/s, 13.75M Cache, Turbo, HT (100W) DDR4-2400 1 x Intel® Xeon® Silver 4210R 2.4G, 10C/20T, 9.6GT/s, 13.75M Cache, Turbo, HT (100W) DDR4-2400 1 x 2 Standard Heatsinks for 125W or less CPUs 1 x 3200MT/s RDIMMs 1 x Performance Optimized 2 x 32GB RDIMM, 3200MT/s, Dual Rank, 16Gb BASE x8 1 x C7, Unconfigured RAID for HDDs or SSDs (Mixed Drive Types Allowed) 1 x PERC H750 Adapter LP 2 x 960GB SSD SATA Read Intensive 6Gbps 512 2.5in Hot-plug AG Drive, 1 DWPD, 1 x iDRAC9 Enterprise with OpenManage Enterprise Advanced 1 x Broadcom 57412 Dual Port 10GbE SFP+ & 5720 Dual Port 1GbE BASE-T rNDC 1 x Riser Config 2, 3 x8, 1 x16 slots 1 x Broadcom 5719 Quad Port 1GbE BASE-T Adapter, PCIe Full Height 1 x Dual, Hot-plug, Redundant Power Supply (1+1), 750W 2 x Jumper Cord - C13/C14, 4M, 250V, 10A (US, EU, TW, APCC countries except ANZ) 1 x PowerEdge 2U Standard Bezel (Dell EMC) 1 x No Quick Sync 1 x Group Manager, Enabled 1 x iDRAC,Factory Generated Password 1 x Performance BIOS Setting 1 x UEFI BIOS Boot Mode with GPT Partition 1 x 6 Standard Fans for R740/740XD 1 x No Operating System 1 x Basic Next Business Day 36Months-ACDTS, 36 Month(s) 1 x ProSupport and Next Business Day Onsite Service-ACDTS, 36 Month(s) 1 x For SADMG Countries only - No Installation Service Required 1 x No Rack Rails or Cable Management Arm 1 x No Internal Optical Drive 1 x PowerEdge R740 Shipping (APCC/Taiwan), for 1300W below, V2 1 x PowerEdge R740 Shipping Material (Dell EMC) 1 x PowerEdge R740/R740XD No CE Marking, APCC, for 1300W PSU below 1 x No Systems Documentation, No OpenManage DVD Kit 1 x Mod Specs Info (SADMG) 1 x EX-HUB from APCC Penang(DDD) 1 x NONE | 0 | Dell | Malaysia | set | 1 | PowerEdge(TM) R740 | Dell / asia | Máy chủ( mail, web, file, VoD, BMS) Dell(TM) PowerEdge(TM) R740 Rack Mount Server 1 x PowerEdge R740 Server 1 x PowerEdge R740/R740XD Motherboard 1 x No Trusted Platform Module 1 x Chassis with up to 8 x 2.5" SAS/SATA Hard Drives for 2CPU Config, PERC/HBA11 1 x Intel® Xeon® Silver 4210R 2.4G, 10C/20T, 9.6GT/s, 13.75M Cache, Turbo, HT (100W) DDR4-2400 1 x Intel® Xeon® Silver 4210R 2.4G, 10C/20T, 9.6GT/s, 13.75M Cache, Turbo, HT (100W) DDR4-2400 1 x 2 Standard Heatsinks for 125W or less CPUs 1 x 3200MT/s RDIMMs 1 x Performance Optimized 2 x 32GB RDIMM, 3200MT/s, Dual Rank, 16Gb BASE x8 1 x C7, Unconfigured RAID for HDDs or SSDs (Mixed Drive Types Allowed) 1 x PERC H750 Adapter LP 2 x 960GB SSD SATA Read Intensive 6Gbps 512 2.5in Hot-plug AG Drive, 1 DWPD, 1 x iDRAC9 Enterprise with OpenManage Enterprise Advanced 1 x Broadcom 57412 Dual Port 10GbE SFP+ & 5720 Dual Port 1GbE BASE-T rNDC 1 x Riser Config 2, 3 x8, 1 x16 slots 1 x Broadcom 5719 Quad Port 1GbE BASE-T Adapter, PCIe Full Height 1 x Dual, Hot-plug, Redundant Power Supply (1+1), 750W 2 x Jumper Cord - C13/C14, 4M, 250V, 10A (US, EU, TW, APCC countries except ANZ) 1 x PowerEdge 2U Standard Bezel (Dell EMC) 1 x No Quick Sync 1 x Group Manager, Enabled 1 x iDRAC,Factory Generated Password 1 x Performance BIOS Setting 1 x UEFI BIOS Boot Mode with GPT Partition 1 x 6 Standard Fans for R740/740XD 1 x No Operating System 1 x Basic Next Business Day 36Months-ACDTS, 36 Month(s) 1 x ProSupport and Next Business Day Onsite Service-ACDTS, 36 Month(s) 1 x For SADMG Countries only - No Installation Service Required 1 x No Rack Rails or Cable Management Arm 1 x No Internal Optical Drive 1 x PowerEdge R740 Shipping (APCC/Taiwan), for 1300W below, V2 1 x PowerEdge R740 Shipping Material (Dell EMC) 1 x PowerEdge R740/R740XD No CE Marking, APCC, for 1300W PSU below 1 x No Systems Documentation, No OpenManage DVD Kit 1 x Mod Specs Info (SADMG) 1 x EX-HUB from APCC Penang(DDD) 1 x NONE | set | 1 | 265535500 |  | 265535500
| Server ( mail, web, file, VoD, BMS) | [16 empty] | 0
11 | Tường lửa |  |  |  | FPR1140-NGFW-K9 Cisco Firepower 1140 NGFW Appliance, 1U SOLN SUPP 8X5XNBD Cisco Firepower 1140 NGFW Appliance, 1U Cisco FPR1140 Threat Defense Threat, Malware and URL License Cisco FPR1140 Threat Defense Threat, Malware and URL 1Y Subs AC Power Cord (Europe), C13, CEE 7, 1.5M Cisco Firepower Threat Defense software v7.0.1 for FPR1000 Cisco Firepower 1K Series 200GB for FPR-1120/1140 Cisco Firepower 1K Series Accessory Kit for FPR-1120/1140 Cisco Firepower 1000 Standard ASA License Cisco Firepower QR Label - Internal Use Only 1000BASE-SX SFP transceiver module, MMF, 850nm, DOM | 0 | Cisco | China / Asia | set | 1 | FPR1140-NGFW-K9 | Cisco | Tường lửa FPR1140-NGFW-K9 Cisco Firepower 1140 NGFW Appliance, 1U SOLN SUPP 8X5XNBD Cisco Firepower 1140 NGFW Appliance, 1U Cisco FPR1140 Threat Defense Threat, Malware and URL License Cisco FPR1140 Threat Defense Threat, Malware and URL 1Y Subs AC Power Cord (Europe), C13, CEE 7, 1.5M Cisco Firepower Threat Defense software v7.0.1 for FPR1000 Cisco Firepower 1K Series 200GB for FPR-1120/1140 Cisco Firepower 1K Series Accessory Kit for FPR-1120/1140 Cisco Firepower 1000 Standard ASA License Cisco Firepower QR Label - Internal Use Only 1000BASE-SX SFP transceiver module, MMF, 850nm, DOM | set | 1 | 223442190 |  | 223442190
| Firewall | [16 empty] | 0
12 | Bộ định tuyến |  |  |  | ISR4431/K9 Cisco ISR 4431 (4GE,3NIM,8G FLASH,4G DRAM,IPB) SOLN SUPP 8X5XNBD Cisco ISR 4431 (4GE3NIM8G FLASH4G DRAM AC Power Supply for Cisco ISR 4430 AC Power Cord (Australia), C13, AS 3112, 2.5m IP Base License for Cisco ISR 4400 Series 4G DRAM (1 x 4G) for Cisco ISR 4400 8G eUSB Flash Memory for Cisco ISR 4430 Cover for empty 2nd Power Supply slot on Cisco ISR 4430 2G DRAM (1 DIMM) for Cisco ISR 4400 Data Plane Blank faceplate for NIM slot on Cisco ISR 4400 Cisco ISR 4400 Series IOS XE Universal 10GBASE-SR SFP Module | 0 | Cisco | China / Asia | set | 1 | ISR4431/K9 | Cisco | Bộ định tuyến ISR4431/K9 Cisco ISR 4431 (4GE,3NIM,8G FLASH,4G DRAM,IPB) SOLN SUPP 8X5XNBD Cisco ISR 4431 (4GE3NIM8G FLASH4G DRAM AC Power Supply for Cisco ISR 4430 AC Power Cord (Australia), C13, AS 3112, 2.5m IP Base License for Cisco ISR 4400 Series 4G DRAM (1 x 4G) for Cisco ISR 4400 8G eUSB Flash Memory for Cisco ISR 4430 Cover for empty 2nd Power Supply slot on Cisco ISR 4430 2G DRAM (1 DIMM) for Cisco ISR 4400 Data Plane Blank faceplate for NIM slot on Cisco ISR 4400 Cisco ISR 4400 Series IOS XE Universal 1000BASE-SX SFP transceiver module, MMF, 850nm, DOM | set | 1 | 210224700 |  | 210224700
| Router | [16 empty] | 0
13 | Bộ điều giải | [7 empty] | set | [8 empty] | 0
| Modem | [16 empty] | 0
14 | Bộ cân bằng tải |  |  |  | Thiết bị và phụ kiện Peplink BPL-580 5 Port WAN chuẩn Gigabit Ethernet 3 Port LAN chuẩn Gigabit Ethernet 1 Port USB WAN Modem Router Throughput up to 1.5Gbps Hỗ trợ tối đa lên đến 1.000 users Quản lý tối đa 100 AP | 0 | Peplink | Asia | set | 2 | BPL-580 | Peblink | Bộ cân bằng tải Thiết bị và phụ kiện Peplink BPL-580 5 Port WAN chuẩn Gigabit Ethernet 3 Port LAN chuẩn Gigabit Ethernet 1 Port USB WAN Modem Router Throughput up to 1.5Gbps Hỗ trợ tối đa lên đến 1.000 users Quản lý tối đa 100 AP | set | 2 | 170362846 |  | 340725692
| Load balance |  |  |  | 0 | 0 | 0 | 0 | [9 empty] | 0
15 | Thiết bị truy cấp Internet tốc độ cao |  |  |  | 0 | 0 | 0 | 0 | set | [8 empty] | 0
| HSIA Device |  |  |  | 0 | 0 | 0 | 0 | [9 empty] | 0
16 | Bộ điều khiển mạng không dây |  |  |  | Thiết bị quản lý chuyển mạch HPE Aruba 7205 (RW) 2-port 10GBASE-X (SFP+) Controller_JW735A / Dịch vụ bảo hành HPE Aruba 1Y FC NBD Exch 7205 Cntlr SVC [for JW735A]_H3CW3E / Dây nguồn HPE Aruba PC-AC-EC Continental European/Schuko AC Power Cord_JW118A / Phần mềm HPE Aruba LIC-AP Controller per AP Capacity License E-LTU_JW472AAE / Dịch vụ phần mềm HPE Aruba 1Y FC SW Cntrl per AP Cpty E-L SVC [for JW472AAE]_H2YU3E | 0 | HP Enterprise | USA | set | 1 | 7205 (RW) JW735A | HPE | - Thiết bị quản lý chuyển mạch HPE Aruba 7205 (RW) 2-port 10GBASE-X (SFP+) Controller_JW735A - Dịch vụ bảo hành HPE Aruba 1Y FC NBD Exch 7205 Cntlr SVC [for JW735A]_H3CW3E - Dây nguồn HPE Aruba PC-AC-EC Continental European/Schuko AC Power Cord_JW118A | set | 1 | 289315520 |  | 289315520
[11 empty] | E-LTU (JW472AAE) | HPE | - Phần mềm HPE Aruba LIC-AP Controller per AP Capacity License E-LTU_JW472AAE - Dịch vụ phần mềm HPE Aruba 1Y FC SW Cntrl per AP Cpty E-L SVC [for JW472AAE]_H2YU3E | set | 1 | 1539390 |  |  |  | Đơn giá license AP sau này có phát sinht hêm số lượng AP hơn 139 thì dựa vào đơn giá này để oder thêm
| Wireless Controller | [16 empty] | 0
17 | Tổng đài IP-PABX 16CO/288 EX |  |  |  | Tổng đài IP UCM6308A - 1500 user, 200 cuộc gọi đồng thời - Kết nối làm việc online qua cloud với 25 máy, 4 kênh gọi qua app, web - Màn hình LCD hiển thị thông tin tổng đài - 3 cổng mạng Gigabit (PoE), 2 cổng USB, Khe SD - Thoại hội nghị audio 150 bên - Hỗ trợ kết nối cloud từ xa - Full tính năng: Hiển thị số, lời chào tự động, ghi âm cuộc gọi... - Hỗ trợ HA (Redundant) chạy backup tổng đài tự động khi 1 tổng đài lỗi Lắp đặt: Gắn rack 19" hoặc để bàn / Gateway 8 cổng FXO – WAN/LAN / Điện thoại ip GRP2615 - Màn hình mầu 4,3 - 5 tài khoản SIP, âm thanh chuẩn HD - 2 cổng mạng Gigabit hỗ trợ PoE, hỗ trợ wifi 2.4/5Ghz, bluetooth kết nối tai nghe không dây, cổng usb - Danh bạ 2000 số, lịch sử cuộc gọi 2000 số, hỗ trợ quản lý qua cloud từ PC và smartphone, 40 phím mềm gọi nhanh / Điện thoại IP, 2 cổng LAN 10/100, có PoE, 2 tài khoản SIP, Màn hình LCD, Jack tai nghe RJ9, Contact 1000 số, Call log 200 số, tích hợp quản lý Cloud | 0 | Grandstream | USA | set | 1 | UCM6308A | Grandstream | Tổng đài IP-PABX 16CO/288 EX Tổng đài IP UCM6308A - 1500 user, 200 cuộc gọi đồng thời - Kết nối làm việc online qua cloud với 25 máy, 4 kênh gọi qua app, web - Màn hình LCD hiển thị thông tin tổng đài - 3 cổng mạng Gigabit (PoE), 2 cổng USB, Khe SD - Thoại hội nghị audio 150 bên - Hỗ trợ kết nối cloud từ xa - Full tính năng: Hiển thị số, lời chào tự động, ghi âm cuộc gọi... - Hỗ trợ HA (Redundant) chạy backup tổng đài tự động khi 1 tổng đài lỗi Lắp đặt: Gắn rack 19" hoặc để bàn / Gateway 8 cổng FXO – WAN/LAN | set | 1 | 50164850 |  | 50164850
| IP-PABX | [9 empty] | GRP2615 |  | Điện thoại ip GRP2615 - Màn hình mầu 4,3 - 5 tài khoản SIP, âm thanh chuẩn HD - 2 cổng mạng Gigabit hỗ trợ PoE, hỗ trợ wifi 2.4/5Ghz, bluetooth kết nối tai nghe không dây, cổng usb - Danh bạ 2000 số, lịch sử cuộc gọi 2000 số, hỗ trợ quản lý qua cloud từ PC và smartphone, 40 phím mềm gọi nhanh / Điện thoại IP, 2 cổng LAN 10/100, có PoE, 2 tài khoản SIP, Màn hình LCD, Jack tai nghe RJ9, Contact 1000 số, Call log 200 số, tích hợp quản lý Cloud | set | 1 | 3819370 |  | 3819370
18 | Bộ chuyển mạch 24 Ports, 2 SFP |  |  |  | C9200-24T-E Catalyst 9200 24-port data only, Network Essentials SNTC-8X5XNBD Catalyst 9200 24-port data only, Network Config 5 Power Supply Blank C9200 Network Essentials, 24-port license Catalyst 9200 4 x 10G Network Module Europe AC Type A Power Cable C9200 Cisco DNA Essentials, 24-Port Term Licenses C9200 Cisco DNA Essentials, 24-Port, 3 Year Term License Network Plug-n-Play Connect for zero-touch device deployment | 0 | Cisco | China / Asia | set | 1 | C9200-24T-E | Cisco | Bộ chuyển mạch 24 Ports, 2 SFP C9200-24T-E Catalyst 9200 24-port data only, Network Essentials SNTC-8X5XNBD Catalyst 9200 24-port data only, Network Config 5 Power Supply Blank C9200 Network Essentials, 24-port license Catalyst 9200 4 x 10G Network Module Europe AC Type A Power Cable C9200 Cisco DNA Essentials, 24-Port Term Licenses C9200 Cisco DNA Essentials, 24-Port, 3 Year Term License Network Plug-n-Play Connect for zero-touch device deployment | set | 1 | 71420373 |  | 71420373
| Switch 24 Ports, 2 SFP | [16 empty] | 0
19 | Patch panel 24 port |  |  |  | 760237040 COMMSCOPE SL DDM Patch Panel, UTP, 1U, 24 port, Straight, Unload / 9-1375055-2 COMMSCOPE SL Jack, Category 6, UTP, without Dust Cover, Black, in bulk pack | 0 | Commscope | China | set | 1 | 760237040 9-1375055-2 | Commscope | Patch panel 24 port 760237040 COMMSCOPE SL DDM Patch Panel, UTP, 1U, 24 port, Straight, Unload / 9-1375055-2 COMMSCOPE SL Jack, Category 6, UTP, without Dust Cover, Black, in bulk pack | set | 1 | 2739280 |  |  | Bao gồm nhân công tool patch-panel | QUANG DŨNG CẤP
| Patch panel 24 port | [16 empty] | 0
20 | Bộ chuyển mạch chính 24 cổng |  |  |  | 0 | 0 | 0 | 0 | set | 2 | C9300X-24Y-A | cisco | Core switch 24 ports Catalyst 9300X 24x25G Fiber Ports, modular uplink Switch SNTC-8X5XNBD Catalyst 9300X 24x25G Fiber Ports, modul Cisco Catalyst 9300 XE 17.6 UNIVERSAL UNIVERSAL 715W AC 80+ platinum Config 1 Power Supply No Secondary Power Supply Selected Europe AC Type A Power Cable C9300 Network Advantage, 24-port license No Stack Cable Selected Catalyst Stack Power Cable 150 CM - Upgrade No SSD Card Selected Config 1 Power Supply Blank TE agent for IOSXE on C9K C9300 DNA Advantage, Term License DNA Advantage 3 Year License Cisco ThousandEyes Enterprise Agent IBN Embedded ThousandEyes - Enterprise Agents Prime Infrastructure Lifecycle & Assurance Term - Smart Lic PI Dev Lic for Lifecycle & Assurance Term 3Y Catalyst 9300 8 x 10G/25G Network Module SFP+/SFP28 Network Plug-n-Play Connect for zero-touch device deployment | set | 1 | 411890400 |  | 411890400 |  | SL cần 1 core switch trung tâm 24 port SFP vì tổng chỉ có 20 switch cho hệ thống IT kết nối cáp quang về
| Core switch 24 ports | [16 empty] | 0
21 | Thiết bị đầu cuối mạng quang_ONT |  |  |  | 0 | CGP-ONT-4P | cisco | China | set | 1 | CGP-ONT-4P | cisco | Thiết bị đầu cuối mạng quang_ONT Thiết bị ONT Cisco GPON ONT 4X1G PoE+, 2.5G uplink AC Power Cord (Europe), C13, CEE 7, 1.5M | set | 1 | 5007240 |  | 5007240
| Optical Network Terminal_ONT | [16 empty] | 0
22 | Tủ rack chính 19'' |  |  |  | 0 | VRV42-8100 | Vietrack | China | set | 1 | VRV42-8100 | Vietrack | Tủ rack chính 19'' V-Series Server Cabinet 42U 800 x 1000, Black | set | 1 | 17688920 |  | 17688920
| Enclosure main rack 19'' | [16 empty] | 0
23 | Hộp nối quang ODF 1x 72 FO |  |  |  | 760244403 CommScope® Fiber Optic Panel,1U, 19 in, unloaded for 24 LC duplex or 24 SC simplex adaptors, black / CZ9340-000 CommScope® Adapter LC Duplex, Flanged, Blue / 760241378 CommScope® 48 Fibers Slicing Tray Kit / 2105081-1 Fiber Optic Patch Cord, Simplex, 0.9mm,SM, LC/UPC to LC/UPC, Yellow, 1M | 0 | Commscope | China | set | 1 | 760244403 CZ9340-000 760241378 2105081-1 | Commscope | Hộp nối quang ODF 1x 72 FO 760244403 CommScope® Fiber Optic Panel,1U, 19 in, unloaded for 24 LC duplex or 24 SC simplex adaptors, black / CZ9340-000 CommScope® Adapter LC Duplex, Flanged, Blue / 760241378 CommScope® 48 Fibers Slicing Tray Kit 2105081-1 Fiber Optic Patch Cord, Simplex, 0.9mm,SM, LC/UPC to LC/UPC, Yellow, 1M | set | 1 | 33904410 |  |  | Bao gồm chi phí hàn cáp quang ở phần nhân công | QUANG DŨNG CẤP
| ODF 1x 72 FO | [16 empty] | 0
24 | Phụ kiện kết nối |  |  |  | 0 | 0 | 0 | 0 | set | 1 | [7 empty] | 0
| Connection accessories | [16 empty] | 0
add | Hệ thống cấp nguồn UPS trung tâm bao gồm cả phần nguồn cấp cho access door |  |  |  |  | 0 | Socomec | China | set | 1 | MASTERYS BC+ | Socomec | Hệ thống cấp nguồn UPS trung tâm bao gồm cả phần nguồn cấp cho access door: SOCOMEC MASTERYS BC+ 20KVA 3:1 | set | 1 | 203315238 |  |  | Bao gồm đấu nối nguồn, không bao gồm chi phí kéo cáp điện | KHÔNG CẤP
| Centrer UPS system include assumption power supply for access control | [16 empty] | 0
| Tầng | [16 empty] | 0
| Floor | [16 empty] | 0
26 | Bộ chuyển mạch POE 48 cổng |  |  |  | Catalyst 9200 48-port PoE+, Network Essentials SOLN SUPP 8X5XNBD Catalyst 9200 48-port PoE+, Network Esse Config 5 Power Supply Blank C9200 Network Essentials, 48-port license Catalyst 9200 4 x 10G Network Module Europe AC Type A Power Cable C9200 Cisco DNA Essentials, 48-Port Term Licenses C9200 Cisco DNA Essentials, 48-port - 3 Year Term License SOLN SUPP SW SUBC9200 Cisco DNA Esse Network Plug-n-Play Connect for zero-touch device deployment | 0 | Cisco | China / Asia | no | 1 | C9200-48P-E | cisco | Switch 48 POE Ports, 2 SFP Catalyst 9200 48-port PoE+, Network Essentials SNTC-8X5XNBD Catalyst 9200 48-port PoE+, Network Esse Config 5 Power Supply Blank C9200 Network Essentials, 48-port license Catalyst 9200 4 x 10G Network Module Europe AC Type A Power Cable C9200 Cisco DNA Essentials, 48-Port Term Licenses C9200 Cisco DNA Essentials, 48-port - 3 Year Term License Network Plug-n-Play Connect for zero-touch device deployment | set | 1 | 160220840 |  | 160220840
| Switch 48 POE Ports, 2 SFP | [16 empty] | 0
27 | Bộ chuyển mạch POE 24 cổng, 2 SFP |  |  |  | C9200-24P-E Catalyst 9200 24-port PoE+, Network Essentials SOLN SUPP 8X5XNBD Catalyst 9200 24-port PoE+, Network Esse Config 5 Power Supply Blank C9200 Network Essentials, 24-port license Catalyst 9200 4 x 10G Network Module Europe AC Type A Power Cable C9200 Cisco DNA Essentials, 24-Port Term Licenses C9200 Cisco DNA Essentials, 24-Port, 3 Year Term License SOLN SUPP SW SUBC9200 Cisco DNA Esse Network Plug-n-Play Connect for zero-touch device deployment | 0 | Cisco | China / Asia | no | 4 | C9200-24P-E | cisco | Switch POE 24 Ports, 2 SFP C9200-24P-E Catalyst 9200 24-port PoE+, Network Essentials SNTC-8X5XNBD Catalyst 9200 24-port PoE+, Network Esse Config 5 Power Supply Blank C9200 Network Essentials, 24-port license Catalyst 9200 4 x 10G Network Module Europe AC Type A Power Cable C9200 Cisco DNA Essentials, 24-Port Term Licenses C9200 Cisco DNA Essentials, 24-Port, 3 Year Term License Network Plug-n-Play Connect for zero-touch device deployment | set | 4 | 88868640 |  | 355474560
| Switch POE 24 Ports, 2 SFP | [16 empty] | 0
28 | Bộ chuyển mạch POE 16 cổng |  |  |  | Catalyst 1000 16port GE, POE, 2x1G SFP AC Power Cord (Europe), C13, CEE 7, 1.5M CSCO SUP ESS 8X5XNBD Catalyst 1000 16port GE, POE, 2x1G SFP | 0 | Cisco | China / Asia | no | 3 | C1000-16P-2G-L | Cisco | Switch POE 16 Ports, 2 SFP Catalyst 1000 16port GE, POE, 2x1G SFP AC Power Cord (Europe), C13, CEE 7, 1.5M CSCO SUP ESS 8X5XNBD Catalyst 1000 16port GE, POE, 2x1G SFP | set | 3 | 18247860 |  | 54743580
| Switch POE 16 Ports, 2 SFP | [16 empty] | 0
29 | Bộ chuyển mạch 48 cổng, 2 SFP |  |  |  | Catalyst 9200 48-port data only, Network Essentials SOLN SUPP 8X5XNBD Catalyst 9200 48-port data only, Network Config 5 Power Supply Blank C9200 Network Essentials, 48-port license Europe AC Type A Power Cable C9200 Cisco DNA Essentials, 48-Port Term Licenses C9200 Cisco DNA Essentials, 48-port - 3 Year Term License SOLN SUPP SW SUBC9200 Cisco DNA Esse Network Plug-n-Play Connect for zero-touch device deployment Catalyst 9200 4 x 10G Network Module | 0 | Cisco | China / Asia | no | 8 | C9200-48T-E | Cisco | Bộ chuyển mạch 48 cổng, 2 SFP Catalyst 9200 48-port data only, Network Essentials SNTC-8X5XNBD Catalyst 9200 48-port data only, Network Config 5 Power Supply Blank C9200 Network Essentials, 48-port license Catalyst 9200 4 x 10G Network Module Europe AC Type A Power Cable C9200 Cisco DNA Essentials, 48-Port Term Licenses C9200 Cisco DNA Essentials, 48-port - 3 Year Term License Network Plug-n-Play Connect for zero-touch device deployment | set | 8 | 115610230 |  | 924881840
| Switch 48 Ports, 2 SFP | [16 empty] | 0
30 | Bộ chuyển mạch 24 cổng, 2 SFP |  |  |  | C9200-24T-E Catalyst 9200 24-port data only, Network Essentials SNTC-8X5XNBD Catalyst 9200 24-port data only, Network Config 5 Power Supply Blank C9200 Network Essentials, 24-port license Catalyst 9200 4 x 10G Network Module Europe AC Type A Power Cable C9200 Cisco DNA Essentials, 24-Port Term Licenses C9200 Cisco DNA Essentials, 24-Port, 3 Year Term License Network Plug-n-Play Connect for zero-touch device deployment /42x 10GBASE-SR SFP Module | 0 | Cisco | China / Asia | no | 3 | C9200-24T-E | Cisco | Bộ chuyển mạch 24 cổng, 2 SFP C9200-24T-E Catalyst 9200 24-port data only, Network Essentials SNTC-8X5XNBD Catalyst 9200 24-port data only, Network Config 5 Power Supply Blank C9200 Network Essentials, 24-port license Catalyst 9200 4 x 10G Network Module Europe AC Type A Power Cable C9200 Cisco DNA Essentials, 24-Port Term Licenses C9200 Cisco DNA Essentials, 24-Port, 3 Year Term License Network Plug-n-Play Connect for zero-touch device deployment | set | 3 | 78483940 |  | 235451820
[11 empty] | SFP-10G-SR | Cisco | Module quang 10G 10GBASE-SR SFP Module | set | 42 | 13326058 |  | 559694436 |  | KHÔNG CÓ TRONG SO SÁNH GIÁ
| Switch 24 Ports, 2 SFP | [16 empty] | 0
33 | Patch panel 16 ports |  |  |  | 0 | 760237040 + 9-1375055-2 | Commscope | China | set | 3 | 760237040 + 9-1375055-2 | Commscope | Patch panel 16 ports 760237040 COMMSCOPE SL DDM Patch Panel, UTP, 1U, 24 port, Straight, Unload 9-1375055-2 COMMSCOPE SL Jack, Category 6, UTP, without Dust Cover, Black, in bulk pack | set | 3 | 2739280 |  |  | Bao gồm chi phí tool patch-panel | QUANG DŨNG CẤP
| Patch panel 16 ports | [16 empty] | 0
32 | Patch panel 24 ports |  |  |  | 0 | 760237040 + 9-1375055-2 | Commscope | China | set | 7 | 760237040 + 9-1375055-2 | Commscope | Patch panel 24 ports 760237040 COMMSCOPE SL DDM Patch Panel, UTP, 1U, 24 port, Straight, Unload 9-1375055-2 COMMSCOPE SL Jack, Category 6, UTP, without Dust Cover, Black, in bulk pack | set | 7 | 2739280 |  |  | Bao gồm chi phí tool patch-panel | QUANG DŨNG CẤP
| Patch panel 24 ports | [16 empty] | 0
31 | Patch panel 48 ports |  |  |  | 0 | 760237041 9-1375055-2 | Commscope | China | set | 9 | 760237041 + 9-1375055-2 | Commscope | Patch panel 48 ports 760237041 COMMSCOPE SL DDM Patch Panel, UTP, 2U, 48 port, Straight, Unload 9-1375055-2 COMMSCOPE SL Jack, Category 6, UTP, without Dust Cover, Black, in bulk pack | set | 9 | 5705540 |  |  | Bao gồm chi phí tool patch-panel | QUANG DŨNG CẤP
| Patch panel 48 ports | [16 empty] | 0
34 | Bộ phối quang 12 FO |  |  |  | 760244403-CommScope® Fiber Optic Panel,1U, 19 in, unloaded for 24 LC duplex or 24 SC simplex adaptors, black / CZ9340-000-CommScope® Adapter LC Duplex, Flanged, Blue / 1671281-1-CommScope® Splice Tray kit SMOUV / 2105081-1-Fiber Optic Patch Cord, Simplex, 0.9mm,SM, LC/UPC to LC/UPC, Yellow, 1M | 0 | Commscope | China | no | 4 | 760244403 CZ9340-000 1671281-1 2105081-1 | Commscope | Bộ phối quang 12 FO 760244403-CommScope® Fiber Optic Panel,1U, 19 in, unloaded for 24 LC duplex or 24 SC simplex adaptors, black CZ9340-000-CommScope® Adapter LC Duplex, Flanged, Blue 1671281-1-CommScope® Splice Tray kit SMOUV 2105081-1-Fiber Optic Patch Cord, Simplex, 0.9mm,SM, LC/UPC to LC/UPC, Yellow, 1M | set | 4 | 20957820 |  |  | Bao gồm chi phí hàn cáp quang | QUANG DŨNG CẤP
| ODF 12 FO | [16 empty] | 0
35 | Bộ phối quang 8 FO |  |  |  | 760244403-CommScope® Fiber Optic Panel,1U, 19 in, unloaded for 24 LC duplex or 24 SC simplex adaptors, black / CZ9340-000-CommScope® Adapter LC Duplex, Flanged, Blue / 1671281-1-CommScope® Splice Tray kit SMOUV / 2105081-1-Fiber Optic Patch Cord, Simplex, 0.9mm,SM, LC/UPC to LC/UPC, Yellow, 1M / | 0 | Commscope | China | no | 4 | 760244403 CZ9340-000 1671281-1 2105081-1 | Commscope | Bộ phối quang 8 FO 760244403-CommScope® Fiber Optic Panel,1U, 19 in, unloaded for 24 LC duplex or 24 SC simplex adaptors, black CZ9340-000-CommScope® Adapter LC Duplex, Flanged, Blue 1671281-1-CommScope® Splice Tray kit SMOUV 2105081-1-Fiber Optic Patch Cord, Simplex, 0.9mm,SM, LC/UPC to LC/UPC, Yellow, 1M | set | 4 | 19932530 |  |  | Bao gồm chi phí hàn cáp quang | QUANG DŨNG CẤP
| ODF 8 FO | [16 empty] | 0
36 | Tủ rack |  |  |  | 0 | VRV42-8100 | Vietrack | China | no | 8 | VRV42-8100 | Vietrack | Tủ rack V-Series Server Cabinet 42U 800 x 1000, Black | set | 8 | 17688920 |  | 141511360
| Enclosure rack | [16 empty] | 0
0
| Cáp hạ tầng bao gồm đầu nối, kết nối cáp, phụ kiện và vật tư phụ (Cáp từ nhà cung cấp dịch vụ đến phòng MDF được thực hiện bởi đơn vị khác) | [16 empty] | 0
| Backbone cables including cable jacks, connection to switches or patch panels, fittings and accessories (Incoming cables for connection from service provider to MDF room by others) | [16 empty] | 0
37 | Cáp quang 8FO SM |  |  |  | 760249372 FO CABLE, INDOOR, 8F, G657A1, LSZH | 0 | Commscope | China | m | 727 | 760249372 | Commscope | Cáp quang 8FO SM 760249372 FO CABLE, INDOOR, 8F, G657A1, LSZH | m | 727 | 42500 |  |  | Thi công kéo cáp quang nhà thầu Xây Dựng làm | QUANG DŨNG CẤP
| Fiber optical cable 8FO SM | [16 empty] | 0
38 | Cáp quang 12FO SM |  |  |  | 760249373 FO CABLE, INDOOR, 12F, G657A1, LSZH | 0 | Commscope | China | m | 481 | 760249373 | Commscope | Cáp quang 12 FO SM 760249373 FO CABLE, INDOOR, 12F, G657A1, LSZH | m | 481 | 58000 |  |  | Thi công kéo cáp quang nhà thầu Xây Dựng làm | QUANG DŨNG CẤP
| Fiber optical cable 12FO SM | [16 empty] | 0
0
| Thiết bị đầu cuối bao gồm đế, kết nối cáp, phụ kiện và vật tư phụ | [16 empty] | 0
| Final circuit devices including all bases, connection to cables, fittings and accessories | [16 empty] | 0
39 | Ổ cắm mạng RJ45 |  |  |  | 272368-1 COMMSCOPE US Style Low Profile Faceplate, 1-Port Shuttered, w/Label & Icon, Almond(FACEPLATE KIT, SHUTTER, 1 PORT) / 1375055-1 COMMSCOPE Category 6 Modular Jack, Unshielded, RJ45, SL, T568A/B, Almond (ASSY, SL 110JACK, C6, LT.ALMOND) | 0 | COMMSCOPE / NSP | Thái Lan / US/ MX / VN | bộ/no | 288 | 272368-1 1375055-1 | Commscope | Ổ cắm mạng RJ45 272368-1 COMMSCOPE US Style Low Profile Faceplate, 1-Port Shuttered, w/Label & Icon, Almond(FACEPLATE KIT, SHUTTER, 1 PORT) / 1375055-1 COMMSCOPE Category 6 Modular Jack, Unshielded, RJ45, SL, T568A/B, Almond (ASSY, SL 110JACK, C6, LT.ALMOND) | set | 288 | 132000 |  |  |  | QUANG DŨNG CẤP
| Data outlet RJ45 | [16 empty] | 0
40 | Ổ cắm thoại RJ45 |  |  |  | Ổ cắm đơn 1xRJ11, lắp âm tường (trọn bộ bao gồm đế, mặt, hạt) / 272368-1 COMMSCOPE US Style Low Profile Faceplate, 1-Port Shuttered, w/Label & Icon, Almond(FACEPLATE KIT, SHUTTER, 1 PORT) / 1375055-1 COMMSCOPE Category 6 Modular Jack, Unshielded, RJ45, SL, T568A/B, Almond (ASSY, SL 110JACK, C6, LT.ALMOND) | 0 | COMMSCOPE / NSP | Thái Lan / US/ MX / VN | bộ/no | 55 | 272368-1 1375055-1 | Commscope | Ổ cắm thoại RJ45 Ổ cắm đơn 1xRJ11, lắp âm tường (trọn bộ bao gồm đế, mặt, hạt) / 272368-1 COMMSCOPE US Style Low Profile Faceplate, 1-Port Shuttered, w/Label & Icon, Almond(FACEPLATE KIT, SHUTTER, 1 PORT) / 1375055-1 COMMSCOPE Category 6 Modular Jack, Unshielded, RJ45, SL, T568A/B, Almond (ASSY, SL 110JACK, C6, LT.ALMOND) | set | 55 | 132000 |  |  |  | QUANG DŨNG CẤP
| Phone outlet RJ45 | [16 empty] | 0
41 | Bộ phát WIFI |  |  |  | Thiết bị thu phát sóng không dây HPE Aruba AP-505 (RW) Unified AP_R2H28A / Thiết bị thu phát sóng không dây HPE Aruba AP-555 (RW) Unified AP_JZ356A / Dịch vụ bảo hành HPE Aruba 1Y FC NBD Exch AP-505 SVC [for R2H28A]_HP9V9E / Khung gắn thiết bị HPE Aruba AP-MNT-MP10-D AP mount bracket 10-pack D_Q9G71A | 0 | HP Enterprise | (USA) | bộ/no | 119 | AP-505 (RW) R2H28A | HPE | Thiết bị thu phát sóng không dây HPE Aruba AP-505 (RW) Unified AP_R2H28A Dịch vụ bảo hành HPE Aruba 1Y FC NBD Exch AP-505 SVC [for R2H28A]_HP9V9E Khung gắn thiết bị HPE Aruba AP-MNT-D AP mount bracket R3J18A | set | 119 | 9625000 |  | 1145375000 | Đơn giá hỗ trợ bằng đơn giá nhập
[11 empty] | AP-555 (RW) JZ356A | HPE | Thiết bị thu phát sóng không dây HPE Aruba AP-555 (RW) Unified AP_JZ356A Khung gắn thiết bị HPE Aruba AP-MNT-D AP mount bracket R3J18A Dịch vụ bảo hành HPE Aruba 1Y FC NBD Exch AP 555 SVC [for JZ356A]_HJ6S3E | set | 20 | 25750000 |  | 515000000 |  | KHÔNG CÓ TRONG SO SÁNH GIÁ
| WIFI | [16 empty] | 0
0
| Cáp nguồn cuối và ống luồn bao gồm hộp rẽ nhánh, nối, kết nối, phụ kiện và vật tư phụ | [16 empty] | 0
| Final circuit cables and conduits including junction boxes, joints, connection, fittings and accessories | [16 empty] | 0
42 | Cáp CAT6 UTP 4 pairs |  |  |  | 1427254-6 COMMSCOPE Category 6 UTP Cable, 4-Pair, 23AWG, Solid, CM, 305m, Blue (CABLE, CAT6, 4UTP, 23AWG, CM, 75C, BLUE) | 0 | Commscope | China | m | 54290 | 1427254-6 | Commscope | Cáp CAT6 UTP 4 pairs 1427254-6 COMMSCOPE Category 6 UTP Cable, 4-Pair, 23AWG, Solid, CM, 305m, Blue (CABLE, CAT6, 4UTP, 23AWG, CM, 75C, BLUE) | m | 54290 | 11313 |  |  | Thi công kéo cáp đồng nhà thầu Xây Dựng làm | QUANG DŨNG CẤP
| Cable CAT6 UTP 4 pairs | [16 empty] | 0
43 | Ống luồn PVC; D20mm |  |  |  | 750N | ARC20/M | AC | Việt Nam | m | 11114 | [7 empty] | 0
| PVC conduit; 20mm diameter | [16 empty] | 0
44 | Phụ kiện và vật tự phụ |  |  |  | 0 | 0 | 0 | 0 | lô/lot | 1 | [7 empty] | 0
| Fittings and accessories | [16 empty] | 0
45 | Vật tư dự phòng |  |  |  | 0 | 0 | 0 | 0 | lô/lot | 1 | [7 empty] | 0
| Spare part | [16 empty] | 0
0
add | Vật tư bổ sung hoàn thiện hệ thống và các chi phí khác | [9 empty] | Vietnet | Vietnet | Chi phí T&C hệ thống IT | lot | 1 | 233000000 |  |  | Bao gồm chi phí cấu hình thiết bị, hướng dẫn, training | KHÔNG TC
| Other material | [16 empty] | 0
B | HỆ THỐNG MẠNG, ĐIỆN THOẠI VÀ TIVI | [16 empty] | 0
| DATA, TELEPHONE AND TELEVISION SYSTEM | [16 empty] | 0
0
| Thiết bị hạ tầng bao gồm kết nối, lập trình, kiểm tra, vận hành, phụ kiện và vật tư phụ | [16 empty] | 0
| Backbone equipment including connection, programming, testing, commissioning, fittings and accessories | [16 empty] | 0
0
| Thiết bị đầu cuối bao gồm đế, kết nối cáp, phụ kiện và vật tư phụ | [16 empty] | 0
| Final circuit devices including all bases, connection to cables, fittings and accessories | [16 empty] | 0
4 | Ổ cắm mạng RJ45 |  |  | 0 | 282463 | Legrand | China | bộ/no | bộ/no | 20 | 272368-1 1375055-1 | Commscope | Ổ cắm thoại RJ45 Ổ cắm đơn 1xRJ11, lắp âm tường (trọn bộ bao gồm đế, mặt, hạt) / 272368-1 COMMSCOPE US Style Low Profile Faceplate, 1-Port Shuttered, w/Label & Icon, Almond(FACEPLATE KIT, SHUTTER, 1 PORT) / 1375055-1 COMMSCOPE Category 6 Modular Jack, Unshielded, RJ45, SL, T568A/B, Almond (ASSY, SL 110JACK, C6, LT.ALMOND) | set | 20 | 132000 |  |  |  | QUANG DŨNG CẤP
| Data outlet RJ45 | [16 empty] | 0
5 | Bộ phát WIFI |  |  | 0 | OAW-AP1201-RW | Alcatel-Lucent Enterprise | china | bộ/no | bộ/no | 17 | AP-505 (RW) R2H28A | HPE | Thiết bị thu phát sóng không dây HPE Aruba AP-505 (RW) Unified AP_R2H28A Dịch vụ bảo hành HPE Aruba 1Y FC NBD Exch AP-505 SVC [for R2H28A]_HP9V9E Khung gắn thiết bị HPE Aruba AP-MNT-D AP mount bracket R3J18A | set | 17 | 9625000 |  | 163625000 | Đơn giá hỗ trợ bằng đơn giá nhập
| WIFI | [16 empty] | 0
0
| Cáp nguồn cuối và ống luồn bao gồm hộp rẽ nhánh, nối, kết nối, phụ kiện và vật tư phụ | [16 empty] | 0
| Final circuit cables and conduits including junction boxes, joints, connection, fittings and accessories | [16 empty] | 0
6 | Cáp CAT6 UTP 4 pairs |  |  | Belden CAT6 UTP Cable, Nonbonded-Pair, 4-pair, 24AWG, CM | 7814A | Belden | China | m | m | 2017 | 1427254-6 | Commscope | Cáp CAT6 UTP 4 pairs 1427254-6 COMMSCOPE Category 6 UTP Cable, 4-Pair, 23AWG, Solid, CM, 305m, Blue (CABLE, CAT6, 4UTP, 23AWG, CM, 75C, BLUE) | m | 2017 | 11313 |  |  | Thi công kéo cáp đồng nhà thầu Xây Dựng làm | QUANG DŨNG CẤP
| Cable CAT6 UTP 4 pairs | [16 empty] | 0
7 | Ống luồn PVC; D20mm |  |  | 750N | ARC20/M | AC | Việt Nam | m | m | 1613.6 | [7 empty] | 0
| PVC conduit; 20mm diameter | [16 empty] | 0
8 | Phụ kiện và vật tự phụ |  |  | 0 | 0 | 0 | 0 | lô/lot | lô/lot | 1 | [7 empty] | 0
| Fittings and accessories | [16 empty] | 0
0
| Vật tư bổ sung hoàn thiện hệ thống và các chi phí khác | [16 empty] | 0
Other material
| TỔNG GIÁ TRỊ HẠNG MỤC | [16 empty] | 6145213191
Các Điều Khoản Thương Mại:
1. Giá trên đã bao gồm 10% thuế GTGT và chi phí vận chuyển giao nhận tại TP.Hà Nội
2. Bảo hành thiết bị theo tiêu chuẩn của nhà sản xuất 12 tháng.
3. Giao hàng: trong vòng 20-40 tuần làm việc sau khi ký hợp đồng & nhận được tạm ứng đợt 1.
4. Thanh toán: chuyển khoản ngân hàng
- Tạm ứng 20% trong vòng 5-7 ngày kể từ ngày hai bên ký hợp đồng mua bán.
- Thanh toán 70% hợp đồng có thời hạn 35 ngày kể từ ngày bên bán gửi file mềm được thông báo giao hàng & các giấy tờ chứng nhận CO,CQ, packing list
- Thanh toán 10% giá trị còn lại trong vòng 30 ngày kể từ ngày nhận thư BLBH 5% giá trị hợp đồng và bộ hồ sơ thanh toán
5. Báo giá có giá trị đến ngày 31/12/2022.
CÔNG TY CỔ PHẦN THƯƠNG MẠI KỸ THUẬT VIỆT NÉT
Giám Đốc
Phan Thanh Sơn