## Table 1
YÊU CẦU BÁO GIÁ
Tên thiết bị | Thông số thiết bị | Số lượng
Tủ rack | Tủ Rack SYSTEM CABINET 42U-D1000 | -1
Ổ điện | Ổ điện 19", 12 ổ cắm 3 chấu chuẩn đa dụng, MCB 2P 32A 4.5-6kA | -2
Thời gian bảo hành: 12 tháng Thời gian đặt hàng: 01 - 02 ngày
UPS | UPS APC 3KVA | -1
Thời gian bảo hành: 36 tháng Hàng sẵn HCM
Thiết bị chuyển mạch Maipu L3 V2 Version Core Switch | Thiết bị chuyển mạch Maipu L3 V2 Version: 24-Port 10G SFP+ interfaces, 2-Port 40/100G QSFP28 interfaces, Dual Fan Slots, Dual Power Slots | 2
| V2 Version: FAN-01C-01B Fan Module For NSS5810-26XF | 4
| V1 Version: 120W AC Power Supply Module | 4
| Module quang Handar 10G 1310nm 10km Dual LC | 10
| Module quang Handar 10G 850nm 300m Dual LC | 10
| Module quang Handar 1Gbps, 10km, LC Duplex | 10
Thời gian bảo hành: 12 tháng Thời gian đặt hàng: 04 - 06 tuần
Sophos XGS 2100 Tường lửa tại công ty chức năng VPN | Sophos XGS 2100 Hardware Appliance: XGS 2100 HW Appliance with 8 GE + 2 SFP ports, 1 expansion bay for optional Flexi Port module, SSD + Base License (incl. FW, VPN & Wireless) for unlimited users + power cable. | -1
| 4 port 10 GE SFP+ Flexi Port module (for all XGS Rackmount models) | 1
| 1 Year Standard Protection Subscription for XGS2100: Features: - Network Protection: Xstream TLS and DPI engine, IPS, ATP, Security Heartbeat, SD-RED VPN, reporting. - Web Protection: : Xstream TLS and DPI engine, Web Security and Control, Application Control, reporting. - Enhanced Support: 24/7 support, feature updates, advanced replacement hardware warranty for term. | 1
Thời gian bảo hành: 12 tháng Thời gian đặt hàng: 04 - 06 tuần
Sophos XGS 138 Tường lửa nhà máy chức năng VPN về công ty | Sophos XGS 138 Hardware Appliance: XGS 138 HW Appliance with 4 GE + 2x 2.5GE + 2 SFP+ ports, 1 expansion bay for optional 5G module, SSD + Base License (incl. FW, VPN, and Wireless) for unlimited users + power cable | -1
| 1 Year Standard Protection Subscription for XGS 138: Features: - Network Protection: Xstream TLS and DPI engine, IPS, ATP, Security Heartbeat, SD-RED VPN, reporting. - Web Protection: : Xstream TLS and DPI engine, Web Security and Control, Application Control, reporting. - Enhanced Support: 24/7 support, feature updates, advanced replacement hardware warranty for term. | 1
Thời gian bảo hành: 12 tháng Thời gian đặt hàng: 04 - 06 tuần
Server Dell R660 | PowerEdge R660 Server | -1
| Trusted Platform Module 2.0 V6 | 1
| 2.5" Chassis with up to 10 Hard Drives (SAS/SATA), 2CPU, PERC11 | 1
| Intel® Xeon® Gold 6430 2.1G, 32C/64T, 16GT/s, 60M Cache, Turbo, HT (270W) DDR5-4400 | 2
| Performance Heatsink for 2 CPU configuration (CPU more than or equal to 250W) | 1
| Performance Optimized | 1
| 5600MT/s RDIMMs | 1
| 32GB RDIMM, 5600MT/s, Dual Rank | 8
| C7, Unconfigured RAID for HDDs or SSDs (Mixed Drive Types Allowed) | 1
| PERC H755 with rear load Brackets | 1
| 960GB SSD SATA Mixed Use 6Gbps 512e 2.5in Hot-plug AG Drive, 3 DWPD | 3
| Performance BIOS Setting | 1
| UEFI BIOS Boot Mode with GPT Partition | 1
| No Energy Star | 1
| 4 Very High Performance Fans | 1
| Dual, Hot Plug, Power Supply Fully Redundant (1+1) 1400W (100-240Vac) | 1
| Jumper Cord - C13/C14, 4M, 250V, 10A (US, EU, TW, APCC countries except ANZ) | 2
| Riser Config 2, Low Profile 3x16 LP Slots (2xLP Gen5 + 1xLP Gen4) | 1
| Motherboard MLK supports ALL CPUs and is required for CPUs 250W and above | 1
| Broadcom 57414 Dual Port 10/25GbE SFP28, OCP NIC 3.0 | 1
| Broadcom 5720 Dual Port 1GbE LOM | 1
| PowerEdge 1U LCD Bezel | 1
| BOSS-N1 controller card + with 2 M.2 480GB (RAID 1) | 1
| SFP+ SR Optic, 10GbE, for all SFP+ ports except high temp validation warning cards | 2
| SUSE Linux Enterprise, Non Factory Install, Requires License Selection | 1
| No Media Required | 1
| SuSe Linux Enterprise Server for SAP,1-2 Skt or 1-2 VMS, L3PrioSub,3YR,ACDTS | 1
| OpenManage Enterprise Advanced | 1
| iDRAC9, Enterprise 16G | 1
| Dell Connectivity Client - Enabled | 1
| No Quick Sync | 1
| iDRAC,Factory Generated Password | 1
| iDRAC Service Module (ISM), NOT Installed | 1
| iDRAC Group Manager, Disabled | 1
| ReadyRails Sliding Rails With Cable Management Arm | 1
| No Systems Documentation, No OpenManage DVD Kit | 1
Thời gian bảo hành: 36 tháng Thời gian đặt hàng: 07 - 09 tuần
| PowerEdge R660xs | -1
| Trusted Platform Module 2.0 V6 | 1
| 2.5" Chassis with up to 8 Hard Drives (SAS/SATA), 1 CPU, PERC 11 | 1
| Intel® Xeon® Gold 5418Y 2G, 24C/48T, 16GT/s, 45M Cache, Turbo, HT (185W) DDR5-4400 | 1
| Heatsink for 1 CPU configuration (CPU more than 150W) | 1
| Performance Optimized | 1
| 5600MT/s RDIMMs | 1
| 32GB RDIMM, 5600MT/s, Dual Rank | 2
| C4, RAID 5 for 3 or more HDDs or SSDs (Matching Type/Speed /Capacity) | 1
| Front PERC H755 Front Load | 1
| 1.92TB SSD SATA Read Intensive 6Gbps 512e 2.5in Hot-plug AG Drive, 1 DWPD | 3
| Performance BIOS Setting | 1
| UEFI BIOS Boot Mode with GPT Partition | 1
| No Energy Star | 1
| Standard Fan X5 | 1
| Dual, Hot-plug, Power Supply Fault Tolerant Redundant (1+1), 1400W, Mixed Mode, NAF | 1
Server Dell R660xs | Jumper Cord - C13/C14, 4M, 250V, 10A (US, EU, TW, APCC countries except ANZ) | 2
| Riser Config 5, Low Profile, 1x16 LP Slots (Gen4) + 1x8 LP Slot (Gen5), 1CPU | 1
| PowerEdge R660xs Motherboard with Broadcom 5720 Dual Port 1Gb On-Board LOM, MLK | 1
| Broadcom 57414 Dual Port 10/25GbE SFP28, OCP NIC 3.0 | 1
| LCD Bezel for x8 and x10 chassis | 1
| SFP+ SR Optic, 10GbE, for all SFP+ ports except high temp validation warning cards | 2
| Windows Server 2025 Standard,16CORE,FI,No Med,No CAL, Multi Language | 1
| Windows Server 2025 Standard,16CORE,DF Recovery Image, Multi Lang, (Downgrade not included) | 1
| Windows Server 2025 Standard Edition, Add License,2CORE, NO MEDIA/KEY | 4
| OpenManage Enterprise Advanced | 1
| iDRAC9, Enterprise 16G | 1
| Dell Connectivity Client - Enabled | 1
| Quick Sync 2 (At-the-box mgmt) | 1
| iDRAC,Factory Generated Password | 1
| iDRAC Service Module (ISM), NOT Installed | 1
| ReadyRails A11 drop-in/stab-in Slide Combo Rails With Cable Management Arm | 1
Thời gian bảo hành: 36 tháng Thời gian đặt hàng: 07 - 09 tuần
Switch Access | C1200-24T-4G&Cisco Catalyst 1200 24x 10/100/1000, 4 x 1G SFP uplink port& | 1
Thời gian bảo hành: 12 tháng Thời gian đặt hàng: 07 - 09 tuần