## Sheet1
CÔNG TY TNHH SUNSTARTECH
Tầng 2, Tòa nhà H&N, Số 151 Trần Trọng Cung, P. Tân Thuận Đông, Quận 7, Tp.Hồ Chí Minh
MST: 0311933922
Điện thoại: 028 66 57 22 33
YÊU CẦU BÁO GIÁ SẢN PHẨM
Dự án: | JEIL LOGISTIC
Hiện nay, Công ty chúng tôi đang thi công tại JEIL LOGISTICS - LONG THÀNH. Vì vậy, tôi cần báo giá mua tốt nhất các sản phẩm như sau:
NO | Vật tư | Thông số kĩ thuật |  | Xuất xứ | ĐVT | SL | Giá Bán | Thành tiền trước VAT | Thuế VAT | Tiền VAT | Thành tiền sau VAT | Ghi chú
1 | ROUTER & FIREWALL |  | Fortigate 100F |  | set | 1
2 | CORE SWITCH28PORT (FIBER) | SFP28p,UTP4p | S5750E-28F-SI-D |  | set | 2
3 | SWITCH48PORT | UTP48p,SFP4p | S4600-52P-SI(R2) |  | set | 3
4 | SWITCH24PORT | UTP24p,SFP2p | S4600-28P-SI(R3.5) |  | set | 3
5 | POE SWITCH24PORT | UTP24p,SFP2p | S4600-28P-P-SI(R3.5) |  | set | 7
6 | PATCH PANEL | 24 Port | LS |  | set | 13
7 | PDU 6 Outlet | 20A - 230V | VN Rack |  | set | 5
8 | CABLE PATCH CORD | CAT6 | LS |  | ea | 312
9 | CABLE PATCH CORD | Optical Fiber Duplex | VN |  | ea | 48
10 | ODF 48 PORT |  | VN |  | set | 1
11 | ODF 16 PORT |  | VN |  | set | 3
12 | MODULE FIBER SFP |  | SFP-SX-L |  | ea | 96
13 | IP - PBX CONTROLER | (8CO + 144EXT) | Grandstream Not Include IP Phone |  | set | 1
14 | WIFI | Ceiling type | DCN WL-8200-X4 |  | set | 14
15 | UPS 3KVA | 120min back up >>> 4 Min |  |  | set | 1
16 | CABLE | CAT6 | LS |  | m | 7980
17 | OPTICAL FIBER 4 CORE | Single mode | Sacom |  | m | 100
18 | CABLE CXV | 0.6/1KV Cu/XLPE/PVC 3Cx4mm2 | LS/TAIHAN/CADIVI |  | m | 1200
19 | RACK | OUTDOOR | VN Rack |  | set | 3
20 | CORE SWITCH28PORT (FIBER) | SFP28p,UTP4p | S5750E-28F-SI-D |  | set | 1
21 | POE SWITCH24PORT | UTP24p,SFP2p | ES430-26P-POE |  | set | 9
22 | PATCH PANEL | 24 Port | LS |  | set | 6
23 | NETWORK VIDEO RECORDER | 32CH | DS-7732NI-M4 |  | set | 4
24 | MONITOR | 55 inch | samsung |  | set | 5
25 | HARD DRIVE | 8TB | ST8000VE001 |  | ea | 6
26 | PDU 6 Outlet | 20A - 230V | VN |  | set | 8
27 | CABLE HDMI |  | Ugen |  | ea | 5
28 | CABLE PATCH CORD | CAT6 | LS |  | ea | 144
29 | CABLE PATCH CORD | Optical Fiber Duplex | Sacom |  | ea | 96
30 | ODF 48 PORT |  | VN |  | set | 1
31 | ODF 8 PORT |  | VN |  | set | 7
32 | MODULE FIBER SFP |  | SFP-SX-L |  | ea | 56
33 | PC SERVER |  | MSI |  | set | 1
34 | PC CONTROL |  | MSI |  | set | 1
35 | UPS 5KVA | 30min back up >>> 4 min | UPS502R2RT2N035 |  | set | 1
36 | PTZ CAMERA IP - WP | Waterproof | DS-2DE7A225IW-AEB T5 |  | set | 6
37 | BULLET CAMERA IP - WP | Waterproof | DS-2CD3T43G2-4ISU 4mm B |  | set | 20
38 | BULLET CAMERA IP |  | DS-2CD3043G2-IU 2.8mm B |  | set | 16
39 | DOME CAMERA IP |  | DS-2CD3143G2-ISU 2.8mm B |  | set | 43
40 | CABLE | CAT 6 | LS |  | m | 6120
41 | OPTICAL FIBER 4 CORE | Single mode | Sacom |  | m | 2200
42 | CABLE | CAT6 | LS |  | m | 200
43 | CABLE | CAT 6 | VN |  | m | 802
44 | OPTICAL FIBER 4 CORE | Single mode | VN |  | m | 802
45 | CCTV Camera | Fixed | VN |  | EA | 10
46 | CCTV RACK | OUTDOOR | VN |  | SET | 3
47 | CORE SWITCH28PORT (FIBER) | SFP28p,UTP4p | VN |  | set | 1
48 | POE SWITCH24PORT | UTP24p,SFP2p | VN |  | set | 1
49 | PATCH PANEL | 24 Port | VN |  | set | 1
50 | NETWORK VIDEO RECORDER | 32CH | VN |  | set | 1
51 | MONITOR | 55 inch | VN |  | set | 1