## Networking BOQ
STT | Mô tả |  | Số lượng | Vị trí | Mã hàng | Đơn giá (VNĐ) | Thành tiền (VNĐ) | Ghi chú
1 | GPNS Switch Infrastructure
1.1 | Core Switch
a | Core switch |  | 2 |  | Aruba 5412R | 389789000 | 779578000
| J9822A | Aruba 5412R zl2 Switch | 1
| J9828A | Aruba 5400R 700W PoE+ zl2 PSU | 4
| J9852A | HPE X450 4U/7U Univ 4-post Rackmount Kit | 1
| J9993A | Aruba 8p 1G/10GbE SFP+ v3 zl2 Mod | 5
| J9990A | Aruba 20p PoE+ / 4p SFP+ v3 zl2 Mod | 1
| J9996A | Aruba 2p 40GbE QSFP+ v3 zl2 Mod | 1
| J9285D | Aruba 10G SFP+ to SFP+ 7m DAC Cable | 12
b | Stack Cable |  | 2 |  | HPE X242 40G QSFP+ to QSFP+ 3m DAC | 2265000 | 4530000
| JH235A | HPE X242 40G QSFP+ to QSFP+ 3m DAC Cable | 1
1.2 | Access Switch
a | Access Switch 24 port |  | 12 |  | Aruba 2930F | 24898000 | 298776000
| JL255A | Aruba 2930F 24G PoE+ 4SFP+ Switch | 1
b | Access Switch 48 port |  | 51 |  | Aruba 2930F | 37896000 | 1932696000
| JL558A | Aruba 2930F 48G PoE+ 740W 4SFP+ | 1
c | Stack Cable |  | 54 |  | Aruba 10G SFP+ to SFP+ 3m DAC | 1133000 | 61182000
| J9283D | Aruba 10G SFP+ to SFP+ 3m DAC Cable | 1
d | Transceiver |  | 100 |  | Aruba 10G SFP+ | 5289000 | 528900000
| J9150D | Aruba 10G SFP+ LC SR 300m OM3 MMF Transceiver | 1
2 | Engineer Switch Infrastructure
2.1 | Core Switch
a | Core switch |  | 2 |  | Aruba 5406R | 287952000 | 575904000
| J9821A | Aruba 5406R zl2 Switch | 1
| J9828A | Aruba 5400R 700W PoE+ zl2 PSU | 2
| J9993A | Aruba 8p 1G/10GbE SFP+ v3 zl2 Mod | 3
| J9990A | Aruba 20p PoE+ / 4p SFP+ v3 zl2 Mod | 1
| J9996A | Aruba 2p 40GbE QSFP+ v3 zl2 Mod | 1
b | Stack Cable |  | 2 |  | HPE X242 40G QSFP+ to QSFP+ 3m DAC | 2265000 | 4530000
| JH235A | HPE X242 40G QSFP+ to QSFP+ 3m DAC Cable | 1
2.2 | Access Switch
a | Access Switch 24 port |  | 25 |  | Aruba 2930F | 24898000 | 622450000
| JL255A | Aruba 2930F 24G PoE+ 4SFP+ Switch | 1
b | Access Switch 48 port |  | 4 |  | Aruba 2930F | 37896000 | 151584000
| JL558A | Aruba 2930F 48G PoE+ 740W 4SFP+ | 1
c | Stack Cable |  | 6 |  | Aruba 10G SFP+ to SFP+ 3m DAC | 1133000 | 6798000
| J9283D | Aruba 10G SFP+ to SFP+ 3m DAC Cable | 1
d | Transceiver |  | 100 |  | Aruba 10G SFP+ | 5289000 | 528900000
| J9150D | Aruba 10G SFP+ LC SR 300m OM3 MMF Transceiver | 1
3 | Wireless Infrastructure
3.1 | Wireless Controller
a | Wireless Controller |  | 2 |  | Aruba 7240XM | 368286000 | 736572000
| JW783A | Aruba 7240XM (RW) 4p 10GBase-X (SFP+) 2p Dual Pers (10/100/1000BASE-T or SFP) Controller | 1
| JW657A | Aruba PSU-350-AC 7200 Series S3500-24T S3500-48T and S3500-24F 350W AC Power Supply | 1
| JW124A | PC-AC-NA North America AC Power Cord | 2
| J9285D | Aruba 10G SFP+ to SFP+ 7m DAC Cable | 2
b | License for Aps |  | 1345 |  | Aruba LIC-AP Controller per AP | 679000 | 913255000
| JW472AAE | Aruba LIC-AP Controller per AP Capacity License E-LTU | 1
3.2 | Access Point
a | Guest Room Wireless |  | 1040 |  | Aruba 303H | 3698000 | 3845920000
| JY678A | Aruba AP-303H (RW) Unified AP | 1
| JW072A | AP-CBL-ETH10 10-pk Short Ethernet Cable | 1
b | Guest Corridor Wireless |  | 151 |  | Aruba 303 | 3229000 | 487579000
| JZ320A | Aruba AP-303 (RW) Unified AP | 1
| JW047A | AP-220-MNT-W1W Mount Basic White Kit | 1
c | Public Area Wireless |  | 92 |  | Aruba 303 | 3229000 | 297068000
| JZ320A | Aruba AP-303 (RW) Unified AP | 1
| JW047A | AP-220-MNT-W1W Mount Basic White Kit | 1
d | BOH Wireless |  | 34 |  | Aruba 303 | 3229000 | 109786000
| JZ320A | Aruba AP-303 (RW) Unified AP | 1
| JW047A | AP-220-MNT-W1W Mount Basic White Kit | 1
e | Conference Area Wireless |  | 12 |  | Aruba 345 | 12859000 | 154308000
| JZ031A | Aruba AP-345 (RW) Unified AP | 1
| JW047A | AP-220-MNT-W1W Mount Basic White Kit | 1
f | Elevator Wireless |  | 13 |  | Aruba 303 | 3229000 | 41977000
| JZ320A | Aruba AP-303 (RW) Unified AP | 1
| JW047A | AP-220-MNT-W1W Mount Basic White Kit | 1
g | Outdoor |  | 3 |  | Aruba 365 | 14860000 | 44580000
| JX966A | Aruba AP-365 (RW) Outdoor AP | 1
| JW701A | PD-9001GO-INTL 30W 802.3at PoE+ 10/100/1000 Outdoor Surge Prot Intl Power Cord Injector | 1
| JW052A | AP-270-MNT-V1 AP-270 Series Outdoor Pole/Wall Long Mount Kit | 1
| JW118A | PC-AC-EC Continental European/Schuko AC Power Cord | 1
3.3 | Heat Map Test (AirMagnet Survey wireless)
a | Heat Map Test Service |  | 0 |  |  | 250000000 | 0
4 | Test & Commissioning & Warranty Service
4.1 | Test & Commissioning
a | Test & Commissioning |  | 1 |  |  | 280000000 | 280000000
b | Physical Installation |  | 1 |  |  | 350000000 | 350000000
4.2 | Warranty Service
a | Warranty Service |  | 1 |  |  | 400000000 | 400000000
5 | Spare List
5.1 | Access Switch
a | Access Switch 24 port |  | 2 |  | Aruba 2930F | 24898000 | 49796000
| JL255A | Aruba 2930F 24G PoE+ 4SFP+ Switch | 1
b | Access Switch 48 port |  | 2 |  | Aruba 2930F | 37896000 | 75792000
| JL256A | Aruba 2930F 48G PoE+ 4SFP+ Switch | 1
c | Stack Cable |  | 6 |  | Aruba 10G SFP+ to SFP+ 3m DAC | 1133000 | 6798000
| J9283D | Aruba 10G SFP+ to SFP+ 3m DAC Cable | 1
d | Transceiver | Aruba 10G SFP+ LC SR 300m OM3 MMF Transceiver | 0 |  | Aruba 10G SFP+ | 5289000 | 0
| J9150D | Aruba 10G SFP+ LC SR 300m OM3 MMF Transceiver | 1
5.2 | Access Point
a | Guest Room Wireless |  | 4 |  | Aruba 303H | 3698000 | 14792000
| JY678A | Aruba AP-303H (RW) Unified AP | 1
b | Guest Corridor Wireless |  | 4 |  | Aruba 303 | 3229000 | 12916000
| JZ320A | Aruba AP-303 (RW) Unified AP | 1
| JW047A | AP-220-MNT-W1W Mount Basic White Kit | 1
c | Public Area Wireless |  | 0 |  | Aruba 303 | 3229000 | 0
| JZ320A | Aruba AP-303 (RW) Unified AP | 1
| JW047A | AP-220-MNT-W1W Mount Basic White Kit | 1
d | BOH Wireless |  | 4 |  | Aruba 303 | 3229000 | 12916000
| JZ320A | Aruba AP-303 (RW) Unified AP | 1
| JW047A | AP-220-MNT-W1W Mount Basic White Kit | 1
e | Conference Area Wireless |  | 4 |  | Aruba 305 | 4929000 | 19716000
| JX936A | Aruba AP-305 802.11n/ac 2x2:2/3x3:3 MU-MIMO Dual Radio Integrated Antenna AP | 1
| JW047A | AP-220-MNT-W1W Flat Surface Wall/Ceiling White AP Basic Flat Surface Mount Kit | 1
f | Elevator Wireless |  | 0 |  | Aruba 303 | 3229000 | 0
| JZ320A | Aruba AP-303 (RW) Unified AP | 1
| JW047A | AP-220-MNT-W1W Mount Basic White Kit | 1
g | Outdoor |  | 0 |  | Aruba 365 | 14860000 | 0
| JX966A | Aruba AP-365 (RW) Outdoor AP | 1
| JW701A | PD-9001GO-INTL 30W 802.3at PoE+ 10/100/1000 Outdoor Surge Prot Intl Power Cord Injector | 1
| JW052A | AP-270-MNT-V1 AP-270 Series Outdoor Pole/Wall Long Mount Kit | 1
| JW118A | PC-AC-EC Continental European/Schuko AC Power Cord | 1
| TOTAL (NETWORKING) | [5 empty] | 13349599000

## Accessories
STT | Mô tả | Part No. | Số lượng | Đơn giá | Thành tiền | Hãng sản xuất
1 | Rack
| RACK 42U 800x1000 |  |  |  |  | Vietrack
| VRV42-8100 : Tủ chứa máy chủ dòng V, 42U, 800mm x 1000mm, màu đen | VRV42-8100 | 12 | 12600000 | 151200000
| RACK 42U 600x800 |  |  |  |  | Vietrack
| VRV42-680 : Tủ chứa máy chủ dòng V, 42U, 600mm x 800mm, màu đen | VRV42-680 | 26 | 15200000 | 395200000
2 | Path Panel
| Patch Panel 24 |  |  |  |  | Belden
| Belden KeyConnect Shielded Patch Panel, 24 port, 1U | AX106504-AP | 37 | 2420000 | 89540000
| Patch Panel 48 |  |  |  |  | Belden
| Belden KeyConnect Shielded Patch Panel, 48 port, 2U | AX106505-AP | 55 | 4400000 | 242000000
| Cab Mgmt |  |  |  |  | Amtec
| Horizontal Cable Management 1U, Finger Duct | AMHM-1F | 100 | 340000 | 34000000
| Patch Cord |  |  |  |  | Belden
| Belden CAT6 Patch Cord, Nonbonded-pair ,4-pair , 24AWG Stranded, Unshielded, PVC, 3M | C6P9106003M | 3528 | 90000 | 317520000
3 | Fiber Accessory
| ODF 12 |  |  |  |  | Belden
| Belden FX (1U) Rack-mount Patch Panel, Including 1 x 24F splice trays | AP100041 | 26 | 2300000 | 59800000
| ODF 24 |  |  |  |  | Belden
| Belden FX (2U) Rack-mount Patch Panel, Including 2 x 24F splice trays | AP100068 | 8 | 3120000 | 24960000
| Adapters Strip, 6 Port SC Duplex (12F) MM |  |  |  |  | Belden
| Belden Multi Mode Adapters Strip, 6 Port SC Duplex (12F) | AP100098 | 84 | 650000 | 54600000
| Fiber Patch Cord LC/SC OM3 |  |  |  |  | Belden
| Belden Fiber Patch Cord LC/SC Duplex 2.0mm, Riser, OM3, 2M | PF3LDSD002MR2XA | 200 | 430000 | 86000000
| Pigtail SC OM3 Simplex |  |  |  |  | Belden
| Belden FX Field-Termination Pigtails, OM3, SC Simplex, Tight Buffer 900um, open-Ended, 2M. | TF3SC900PS01 | 400 | 96000 | 38400000
4 | PDU
| PDU 24 |  |  |  |  | VietRack
| Thanh phân phối nguồn điện, 24 ổ cắm Universal, 32A, 250V, MCB | VRP124-MCB32 | 76 | 2700000 | 205200000
5 | Thi công
| Vật tư phụ thi công cáp quang (băng keo, dây rút, dây velcro, vòng số, …..) |  | 1 | 30000000 | 30000000
| Phí hàn cáp quang + Test report |  | 400 | 240000 | 96000000
| Phí thi công lắp ODF, đấu cáp nhảy quang, label |  | 1 | 70000000 | 70000000
| Label cáp patch core bằng máy in nhiệt Brother |  | 1 | 30000000 | 30000000
| Vật tư phụ thi công đấu tủ (băng keo, dây rút, dây velcro, vòng số, ốc lắp TB……..) |  | 3528 | 6000 | 21168000
| Thi công sỏ vòng số, đấu nối cáp vào patch panel(Cáp đã được đưa đến chân tủ) |  | 3528 | 65000 | 229320000
| Thi công Test cáp từ Patch panel đến outlet, xác định lại số, dán Label cáp cho patch panel, (test thông cáp) |  | 3528 | 40000 | 141120000
| Label cáp patch core bằng máy in nhiệt Brother |  | 3528 | 20000 | 70560000
| TOTAL (ACCESSORIES) |  |  |  | 2386588000